## Power Curve Database
First | 96 |  |  | First WindFlow W33-500 Rotordia [m] 33.2
Second | 47 |  |  | Second Leitwind LTW101/3.0MW Rotordia [m] 100.9
Manufacturer | WindFlow | Leitwind |  | First WindFlow | Second Leitwind | Acciona | AnBonus | Enercon | AnBonus | AnBonus | ATB Riva Calzoni | Enercon | Enercon | Enercon | Enercon | Enercon | Enercon | Enercon | Enercon | Enercon | Enercon | Enercon | Enercon | Enercon | Enercon | Enercon | Enercon | Enercon | Enercon | Enercon | Enercon | RRB / Vestas | Gamesa | Gamesa | Gamesa | Gamesa | lagerwey | Leitwind | Leitwind | Leitwind | Leitwind | Leitwind | Leitwind | Leitwind | Leitwind | Leitwind | Leitwind | Leitwind | Leitwind | Leitwind | Leitwind | Leitwind | Leitwind | Leitwind | Neg-Micon | Neg-Micon | Nordex | Northern Power | Norwin | Norwin | Norwin | Norwin | Norwin | Powerwind | Powerwind | Powerwind | Powerwind | Powerwind | Powerwind | REPower | REPower | REPower | SRC Green Power | Suslon |  | Turbowinds | Unison | Unison | Unison | Unison | Unison | Vergnet | Vergnet | Vergnet | Vergnet | Vergnet | Vestas | Vestas | Vestas | Vestas | Vestas | Vestas | Vestas | Vestas | Vestas | Vestas | Vestas | Vestas | Vestas | Vestas | WindFlow | Wind Technik Nord | Wind Technik Nord | WinWinD | WinWinD | WinWinD | WinWinD | WinWinD | EWT DW54*900HH50 | EWT DW54*750HH50 | EWT DW54*500HH50 | WinWinD
V_wind | W33-500 | LTW101/3.0MW |  | W33-500 | LTW101/3.0MW | AW82/1500kW | AN33/300kW | E33/330kW | AN41/600kW | AN44/600kW | ATB500 | E44/900kW | E48/400kW | E48/500kW | E48/600kW | E48/700kW | E48/800kW | E53/500 | E53/600 | E53/700 | E53/750 | E53/800 | E70/2.3MW | E82 E1/2MW | E82 E2/2.3MW | E82 E3 /3MW | E82 E4 / 3MW | E92/2.35MW | E101/3MW | E115/2.5MW | E126/7,5MW | V47/500 | G52/500kW | G58/500kW | G52/850kW | G58/850kW | L82/2000kW | LTW77/950kW | LTW77/1.0MW | LTW70/1.7MW | LTW70/2.0MW | LTW70/2.0MW | LTW77/1.5MW | LTW77/1.5MW | LTW80/1.5MW | LTW80/1.8MW | LTW80/1.5MW | LTW80/1.8MW | LTW86/1.5MW | LTW86/1.5MW | LTW101/3.0MW | LTW101/3.0MW | LTW104/2.0MW | LTW104/2.5MW | NM-48/600 | M750 | N60/1300kW | 100 | 47‐STALL‐200 kW | 47‐STALL‐225 kW | 47‐ASR‐500 kW | 47‐ASR‐750 kW | 54‐ASR‐750 kW | PW56/500kW | PW56/900kW | PW56/900kW | PW60/850kW | PW90/2,5MW | PW100/2,5MW | MM82/2,0MW | MM82/2050kW | MM92/2050kW | SRC31-250 | S64/950kW | TWT82/1650 | T500/48 | U50/750kW | U54/750kW | U57/750kW | U88/2000kW | U93/2000kW | GEV MP R 32/275kW | GEV MP R 30/275kW | GEV MP C 32/275kW | GEV MP C 30/275kW | GEV HP 62/1000kW | V44/600kW | V47 / 660 kW | V52/104.2dBA | V90/1800kW (0) | V90/1800kW (1) | V90/1800kW (2) | V90/1800kW (3) | V90/2000kW (0) | V90/2000kW (1) | V90/2000kW (2) | V90/2000kW (3) | V90/3000kW 60Hz (mode 0) | V90/3000kW 60Hz (mode 1) | V90/3000kW 60Hz (mode 2) | W33-500 | WTN250 | WTN500 | WWD56/1000 | WWD-1/60 | WWD64/1000 | WWD-3/90 | WWD-3/100 |  |  |  | WWD-3/103
Source: | WindPRO | Tech. datasheet 2012 |  | WindPRO | Tech. datasheet 2012 | WindPRO | WindPRO | Enercon_P_D_web | DEWI 03/95 | WindPRO | http://www.500kwwindturbine.co.uk/ | EN_PUE_de_web | WindPRO | SIAS-Y-001-Power Curve E48_500kW_Vers.1.0_ger-eng | WinDPRO | WindPRO | EN_PUE_de_web | WindPRO | WindPRO | WindPRO | WindPRO | EN_PUE_de_web | EN_PUE_de_web | EN_PUE_de_web | EN_PUE_de_web | EN_PUE_de_web | EN_PUE_de_web | EN_PUE_de_web | EN_PUE_de_web | EN_PUE_de_web | EN_PUE_de_web | Free_Breeze_UK_V47-500kW_flyer.pdf | VG Gamesa Brochure | Gamesa G58 500kW spec | Gamesa G52 850kw | Gamesa G58-Ingles_2 |  | LTW_it_950 | LTW77_it_1.0 | LTW-6Seiter_English_complete | LTW-6Seiter_English_complete | Tech. datasheet 2012 | LTW-6Seiter_English_complete | Tech. datasheet 2012 | LTW-6Seiter_English_complete | LTW-6Seiter_English_complete | Tech. datasheet 2012 | Tech. datasheet 2012 | LTW-6Seiter_English_complete | Tech. datasheet 2012 | LTW-6Seiter_English_complete | Tech. datasheet 2012 | Tech. datasheet 2012 | Tech. datasheet 2012 | WindPRO | WindPRO | WindPRO | Spec sheet | Brochure | Brochure | Brochure | Brochure | Brochure | OEM Doc. | Internet/WindPRO | OEM Doc. |  | WindPRO |  | Warranted | Guaranteed | Guaranteed | SRC PC 001 Rev00 - 21.03.2012 |  |  | WindPRO | [5 empty] | specs-mpr.pdf | specs-mpr.pdf | specs-mpc.pdf | specs-mpc.pdf | specs-hp.pdf | WindPro |  |  | V90_Gen.Spec | V90_Gen.Spec | V90_Gen.Spec | V90_Gen.Spec | V90_Gen.Spec | V90_Gen.Spec | V90_Gen.Spec | V90_Gen.Spec | Vestas_V90_SAC-DSM_3_20_07 | Vestas_V90_SAC-DSM_3_20_07 | Vestas_V90_SAC-DSM_3_20_07 | WindPRO | Brochure | Brochure |  | WWD1_Fact_Sheet |  | WWD3_Fact_Sheet | WWD3_Fact_Sheet |  |  |  | WWD3_Fact_Sheet
Date: | 2009-10-01 | 2012-03-01 |  | 2009-10-01 | 2012-03-01 | 2012-06-01 | 2001-06-16 | 2012-03-12 | 2001-06-16 | 2001-06-17 | 2013-04-05 | 2012-09-01 | 2012-09-01 | 2011-09-29 | 2012-09-01 | 2012-09-01 | 2012-09-01 | 2006-05-01 | 2006-05-01 | 2006-05-01 | 2006-05-01 | 2012-09-01 | 2012-09-01 | 2012-09-01 | 2012-09-01 | 2012-09-01 | 2012-09-01 | 2012-09-01 | 2012-09-01 | 2012-09-01 | 2012-09-01 | 2011-04-14 | 2013-07-01 | 2012-06-01 | Jun.2007 & Nov. 2010 | 2009-03-01 | 2009-09-01 |  | 2009-09-01 | 2012-02-01 | 2012-02-01 | 2012-03-01 | 2012-03-01 | 2012-03-01 | 2012-04-01 | 2012-04-01 | 2012-03-01 | 2012-03-01 | 2012-04-01 | 2012-03-01 | 2012-04-01 | 2012-03-01 | 2012-03-01 | 2012-03-01 |  | 2014-04-01 | 2014-03-28 | 2012-03-27 | 2012-08-14 | 2012-08-14 | 2012-08-14 | 2012-08-14 | 2012-08-14 | 2011-01-05 | 2009-03-24 | 2007-11-20 |  | 2010-07-12 |  | 2004-10-20 | 2009-04-27 | 2009-05-11 | 2013-03-21 |  |  | 2011-03-25 | [5 empty] | june 2012 | june 2012 | june 2012 | june 2012 | june 2012 | Vestas 24.8.2000 |  |  | 2010-09-28 | 2010-09-28 | 2010-09-28 | 2010-09-28 | 2010-09-28 | 2010-09-28 | 2010-09-28 | 2010-09-28 | 2007-03-20 | 2007-03-20 | 2007-03-20 | 2009-10-01 | 2013-07-01 | 2013-07-01 |  | 2012-04-01 |  | 2012-04-01 | 2012-04-01 |  |  |  | 2012-04-01
Status: | Current | Current |  | Current | Current | Current |  | Superceded |  |  | Current | Current | Current | Current | Current | Current | Current | Current | Current | Current | Current | Current | Current | Current | Current | Current | Current | Current | Current | Current | Current | Current | Current | Current | Current | Current | Current | Not Current | Current? | Not Current | Prototype | Current | Superceded | Current | Superceded | Superceded | Current | Current | Superceded | Current | Superceded | Current | Current | Current | Current | Current | Current | Current | Current | Current | Current | Current | Current | Current | Current | Superceded | ? | Current | ? | Superceded | Current | Current | Current |  |  | Current | [5 empty] | Current | Current | Current | Current | Current | [14 empty] | Current | Current | Current | Not current | Current | Not Current | Curr
[m/s] | [kW] | [kW] |  | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kw] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW] | [kW]
0 | 0 | 0 | 0 | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | 0 | 0 | 1 | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 2 | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 2 | 0 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | 3 | 0 | 0 | 3.6 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 53 | 3 | 0% | 1.767% | 22 | 3.9 | 5 | 0 | 3.9 | 0 | 4 | 12 | 5 | 12 | 12 | 5 | 14 | 14 | 14 | 14 | 14 | 18 | 25 | 25 | 25 | 25 | 29.9 | 37 | 48 | 55 | 0 | 0 | 9.7 | 0 | 9.7 | 16 | 24 | 24 | 23 | 23 | 18 | 24 | 24 | 25 | 32 | 3 | 2 | 34 | 33 | 41 | 53 | 57 | 57 | 1.6 | 0.7 | 0 | 0 | 0 | 0 | 3 | 3 | 3 | 5 | 5 | 2.9 | 2.9 | 34 | 0 | 0 | 0 | 20 | 0 | 16 | 0 | 4 | 10 | 12 | 19 | 11 | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 0 | 0 | 12 | 12 | 12 | 0
4 | 0 | 131 | 4 | 0% | 4.367% | 82 | 15.4 | 13.7 | 0 | 21.2 | 25.86 | 20 | 32 | 25 | 32 | 32 | 25 | 38 | 38 | 38 | 38 | 38 | 56 | 82 | 82 | 82 | 82 | 98.2 | 118 | 153 | 175 | 3.1 | 27.9 | 31.2 | 27.9 | 31.2 | 67 | 77 | 77 | 58 | 58 | 51 | 77 | 67 | 77 | 80 | 73 | 59 | 90 | 87 | 124 | 131 | 139 | 139 | 21.5 | 9.2 | 29 | 3.7 | 1 | 1 | 20 | 22 | 28 | 32 | 32 | 26.4 | 26.4 | 103 | 0 | 58 | 64 | 94 | 13 | 37 | 63 | 26 | 31 | 37 | 48 | 43.5 | 43.5 | 3 | 3 | 3 | 3 | 30 | 0 | 2.9 | 26 | 89 | 89 | 89 | 89 | 89 | 89 | 89 | 89 | 77 | 77 | 77 | 0 | 7.5 | 21 | 20 | 43 | 30 | 94 | 97 | 39 | 39 | 39 | 118
5 | 0 | 266 | 5 | 0% | 8.867% | 179 | 32 | 30 | 4.7 | 49.3 | 64.98 | 50 | 66 | 60 | 66 | 66 | 60 | 77 | 77 | 77 | 77 | 77 | 127 | 174 | 174 | 174 | 174 | 208.3 | 258 | 335 | 410 | 43.8 | 65.2 | 78.4 | 65.2 | 78.4 | 167 | 167 | 167 | 120 | 120 | 107 | 167 | 147 | 184 | 163 | 151 | 145 | 182 | 177 | 257 | 266 | 281 | 281 | 53.7 | 21.8 | 73 | 10.5 | 7 | 10 | 52 | 52 | 70 | 71 | 71 | 66.5 | 66.5 | 219 | 0 | 155 | 159 | 205 | 26 | 100 | 153 | 59 | 73 | 87 | 95 | 114.5 | 112 | 17.9 | 14 | 17.9 | 14 | 73 | 30 | 43.8 | 67 | 204 | 204 | 204 | 203 | 204 | 204 | 204 | 203 | 190 | 190 | 190 | 0 | 17.3 | 45 | 66 | 91 | 91 | 213 | 242 | 78 | 78 | 78 | 269
6 | 12 | 469 | 6 | 2.4% | 15.63% | 310 | 52 | 55 | 45.5 | 83.2 | 123.1 | 96 | 120 | 110 | 120 | 120 | 110 | 141 | 141 | 141 | 141 | 141 | 240 | 321 | 321 | 321 | 321 | 384.3 | 479 | 620 | 760 | 96.1 | 123.1 | 148.2 | 123.1 | 148.2 | 313 | 291 | 291 | 213 | 213 | 193 | 291 | 264 | 330 | 287 | 278 | 263 | 321 | 312 | 456 | 469 | 495 | 495 | 99.4 | 38.8 | 131 | 19 | 26 | 29 | 90 | 90 | 120 | 134 | 136 | 127.7 | 127.7 | 376 | 0 | 290 | 314 | 391 | 42 | 181 | 292 | 104 | 120 | 145 | 160 | 228.5 | 237 | 36.5 | 28 | 36.5 | 28 | 140 | 77 | 96.7 | 125 | 368 | 367 | 368 | 363 | 368 | 367 | 368 | 363 | 353 | 353 | 353 | 12 | 28.9 | 85 | 128 | 161 | 178 | 381 | 454 | 138 | 138 | 138 | 494
7 | 45 | 752 | 7 | 9% | 25.07% | 499 | 87.1 | 92 | 103.2 | 130.7 | 203.9 | 156 | 191 | 180 | 191 | 191 | 180 | 228 | 228 | 228 | 228 | 228 | 400 | 532 | 532 | 525 | 525 | 637 | 790 | 1023 | 1250 | 163 | 203 | 242.7 | 203 | 242.7 | 507 | 435 | 435 | 344 | 344 | 312 | 435 | 424 | 527 | 460 | 455 | 440 | 515 | 498 | 735 | 752 | 793 | 793 | 168.7 | 66.4 | 241 | 29.4 | 53 | 55 | 155 | 154 | 200 | 214 | 230 | 213.9 | 213.9 | 605 | 0 | 487 | 511 | 645 | 62 | 287 | 483 | 165 | 193 | 237 | 259 | 390 | 433.5 | 58.4 | 51 | 58.4 | 51 | 228 | 135 | 166 | 203 | 594 | 594 | 594 | 591 | 594 | 594 | 594 | 591 | 581 | 581 | 581 | 45 | 56.9 | 144 | 212 | 262 | 296 | 616 | 750 | 222 | 222 | 222 | 795
8 | 86 | 1124 | 8 | 17.2% | 37.47% | 741 | 129 | 138 | 172 | 202 | 310.6 | 238 | 270 | 275 | 284 | 284 | 275 | 336 | 336 | 336 | 336 | 336 | 626 | 815 | 815 | 800 | 800 | 975.8 | 1200 | 1530 | 1900 | 242 | 307 | 368.8 | 307 | 368.8 | 750 | 619 | 619 | 519 | 519 | 471 | 619 | 605 | 761 | 691 | 694 | 677 | 770 | 725 | 1101 | 1124 | 1186 | 1186 | 253.2 | 99 | 376 | 41 | 84 | 86 | 236 | 236 | 310 | 310 | 345 | 329.4 | 329.4 | 911 | 0 | 731 | 767 | 979 | 102 | 452 | 716 | 234 | 281 | 350 | 377 | 623 | 711.5 | 98.1 | 80 | 98.1 | 80 | 362 | 206 | 252 | 304 | 896 | 895 | 874 | 884 | 896 | 895 | 874 | 884 | 886 | 886 | 885 | 86 | 91.1 | 218 | 327 | 400 | 442 | 926 | 1138 | 337 | 337 | 337 | 1185
9 | 136 | 1573 | 9 | 27.2% | 52.43% | 1014 | 171.9 | 196 | 249.7 | 280.8 | 444.7 | 340 | 335 | 385 | 385 | 405 | 400 | 420 | 455 | 480 | 480 | 480 | 892 | 1180 | 1180 | 1135 | 1135 | 1403.6 | 1710 | 2015 | 2700 | 325 | 435.3 | 465.2 | 435.3 | 525.3 | 1040 | 840 | 840 | 742 | 742 | 673 | 840 | 823 | 993 | 986 | 954 | 946 | 1074 | 984 | 1537 | 1573 | 1670 | 1670 | 338.2 | 139.5 | 536 | 54.3 | 112 | 117 | 338 | 342 | 435 | 439 | 497 | 473.4 | 473.4 | 1270 | 0 | 1005 | 1096 | 1375 | 146 | 646 | 978 | 320 | 400 | 494 | 540 | 953 | 1082 | 141.1 | 113 | 141.1 | 113 | 515 | 287 | 350 | 425 | 1247 | 1233 | 1150 | 1223 | 1247 | 1233 | 1150 | 1224 | 1273 | 1272 | 1258 | 136 | 123.3 | 304 | 467 | 568 | 593 | 1313 | 1613 | 477 | 477 | 477 | 1662
10 | 196 | 2071 | 10 | 39.2% | 69.03% | 1298 | 211.6 | 250 | 338.4 | 361.6 | 500 | 466 | 375 | 465 | 474 | 504 | 555 | 475 | 530 | 580 | 630 | 645 | 1223 | 1580 | 1580 | 1510 | 1510 | 1817.8 | 2340 | 2350 | 3750 | 400 | 500 | 491 | 564.5 | 695 | 1355 | 950 | 950 | 1018 | 1018 | 915 | 1062 | 1062 | 1268 | 1346 | 1222 | 1256 | 1370 | 1250 | 2019 | 2071 | 2000 | 2204 | 422.3 | 176.9 | 704 | 66.8 | 139 | 145 | 420 | 448 | 570 | 500 | 687 | 658.2 | 658.2 | 1654 | 0 | 1288 | 1439 | 1795 | 181 | 862 | 1228 | 390 | 546 | 651 | 719 | 1358 | 1530 | 188.7 | 151 | 188.7 | 151 | 700 | 371 | 450 | 554 | 1578 | 1549 | 1411 | 1563 | 1599 | 1561 | 1413 | 1583 | 1710 | 1696 | 1641 | 196 | 151.8 | 406 | 633 | 780 | 779 | 1771 | 2067 | 605 | 605 | 500 | 2124
11 | 264 | 2612 | 11 | 52.8% | 87.07% | 1447 | 250.6 | 292.8 | 417.1 | 433.7 | 500 | 600 | 395 | 495 | 550 | 595 | 671 | 495 | 575 | 635 | 698 | 744 | 1590 | 1810 | 1890 | 1880 | 1880 | 2088.7 | 2867 | 2480 | 4850 | 452 | 500 | 497.3 | 684.6 | 798.4 | 1646 | 950 | 1000 | 1327 | 1327 | 1189 | 1270 | 1294 | 1462 | 1749 | 1478 | 1554 | 1490 | 1443 | 2543 | 2612 | 2000 | 2500 | 491.2 | 209.7 | 871 | 77.7 | 163 | 171 | 470 | 549 | 680 | 500 | 815 | 880.2 | 850 | 2023 | 0 | 1594 | 1700 | 2000 | 214 | 950 | 1432 | 440 | 697 | 752 | 755 | 1752 | 1883.5 | 242.8 | 192 | 242.8 | 192 | 850 | 450 | 538 | 671 | 1765 | 1750 | 1631 | 1762 | 1881 | 1842 | 1662 | 1876 | 2145 | 2106 | 2004 | 264 | 178.4 | 492 | 811 | 972 | 988 | 2303 | 2494 | 733 | 715 | 500 | 2582
12 | 340 | 3000 | 12 | 68% | 100% | 1492 | 280.7 | 320 | 483.3 | 498.6 | 500 | 710 | 400 | 500 | 597 | 660 | 750 | 500 | 595 | 680 | 729 | 780 | 1900 | 1980 | 2100 | 2200 | 2200 | 2237 | 3034 | 2500 | 5750 | 481 | 500 | 499.5 | 779.9 | 844.1 | 1860 | 950 | 1000 | 1672 | 1672 | 1486 | 1390 | 1420 | 1500 | 1800 | 1500 | 1775 | 1500 | 1500 | 2940 | 3000 | 2000 | 2500 | 545.2 | 237 | 1016 | 86.4 | 180 | 191 | 495 | 631 | 730 | 500 | 886 | 900 | 850 | 2282 | 0 | 1834 | 1912 | 2040 | 241 | 950 | 1559 | 472 | 755 | 760 | 760 | 1967.5 | 2000 | 271.7 | 238 | 271.7 | 238 | 930 | 514 | 600 | 759 | 1796 | 1794 | 1733 | 1796 | 1981 | 1971 | 1849 | 1980 | 2544 | 2489 | 2353 | 340 | 202.7 | 500 | 999 | 1041 | 1016 | 2739 | 2765 | 827 | 750 | 500 | 2878
13 | 420 | 3000 | 13 | 84% | 100% | 1500 | 297.2 | 335 | 534.6 | 548.1 | 500 | 790 | 400 | 500 | 600 | 690 | 790 | 500 | 600 | 695 | 745 | 810 | 2080 | 2050 | 2250 | 2500 | 2500 | 2300 | 3050 | 2500 | 6500 | 494 | 500 | 499.9 | 840.6 | 850 | 1983 | 950 | 1000 | 1700 | 2000 | 1768 | 1466 | 1467 | 1500 | 1800 | 1500 | 1800 | 1500 | 1500 | 3000 | 3000 | 2000 | 2500 | 586.1 | 257.4 | 1124 | 92.8 | 191 | 207 | 500 | 705 | 750 | 500 | 900 | 900 | 850 | 2420 | 2500 | 1972 | 2000 | 2050 | 253 | 950 | 1617 | 492 | 760 | 760 | 760 | 2000 | 2000 | 275 | 270 | 275 | 270 | 969 | 558 | 635 | 811 | 1800 | 1800 | 1760 | 1800 | 1998 | 1996 | 1927 | 1998 | 2837 | 2797 | 2671 | 420 | 225.9 | 500 | 1017 | 1045 | 1016 | 2971 | 2965 | 884 | 750 | 500 | 3020
14 | 500 | 3000 | 14 | 100% | 100% | 1500 | 304.5 | 335 | 573.7 | 577.3 | 500 | 850 | 400 | 500 | 600 | 700 | 810 | 500 | 600 | 700 | 750 | 810 | 2230 | 2050 | 2350 | 2770 | 2770 | 2350 | 3050 | 2500 | 7000 | 498 | 500 | 500 | 848 | 849.5 | 2000 | 950 | 1000 | 1700 | 2000 | 1944 | 1500 | 1488 | 1500 | 1800 | 1500 | 1800 | 1500 | 1500 | 3000 | 3000 | 2000 | 2500 | 600.9 | 262.5 | 1247 | 97.3 | 197 | 218 | 500 | 740 | 750 | 500 | 900 | 900 | 850 | 2492 | 2500 | 2000 | 2040 | 2050 | 253 | 950 | 1641 | 500 | 760 | 760 | 760 | 2000 | 2000 | 275 | 275 | 275 | 275 | 990 | 582 | 651 | 836 | 1800 | 1800 | 1773 | 1800 | 2000 | 2000 | 1955 | 2000 | 2965 | 2951 | 2888 | 500 | 242.2 | 500 | 1017 | 1045 | 1016 | 3059 | 3052 | 900 | 750 | 500 | 3054
15 | 500 | 3000 | 15 | 100% | 100% | 1500 | 299.7 | 335 | 599.8 | 596 | 500 | 880 | 400 | 500 | 600 | 700 | 810 | 500 | 600 | 700 | 750 | 810 | 2300 | 2050 | 2350 | 2910 | 2910 | 2350 | 3050 | 2500 | 7350 | 500 | 500 | 500 | 849 | 849.5 | 2000 | 950 | 1000 | 1700 | 2000 | 2000 | 1500 | 1500 | 1500 | 1800 | 1500 | 1800 | 1500 | 1500 | 3000 | 3000 | 2000 | 2500 | 606.3 | 256.8 | 1301 | 100 | 201 | 224 | 500 | 750 | 750 | 500 | 900 | 900 | 850 | 2500 | 2500 | 2000 | 2050 | 2050 | 252 | 950 | 1649 | 500 | 760 | 760 | 760 | 2000 | 2000 | 275 | 275 | 275 | 275 | 1000 | 594 | 657 | 846 | 1800 | 1800 | 1784 | 1800 | 2000 | 2000 | 1973 | 2000 | 2995 | 2993 | 2976 | 500 | 250 | 500 | 1017 | 1045 | 1016 | 3070 | 3069 | 900 | 750 | 500 | 3070
16 | 500 | 3000 | 16 | 100% | 100% | 1500 | 281.3 | 335 | 620.1 | 610 | 500 | 905 | 400 | 500 | 600 | 700 | 810 | 500 | 600 | 700 | 750 | 810 | 2310 | 2050 | 2350 | 3000 | 3000 | 2350 | 3050 | 2500 | 7500 | 500 | 500 | 500 | 850 | 850 | 2000 | 950 | 1000 | 1700 | 2000 | 2000 | 1500 | 1500 | 1500 | 1800 | 1500 | 1800 | 1500 | 1500 | 3000 | 3000 | 2000 | 2500 | 611.4 | 244.5 | 1344 | 100.8 | 203 | 228 | 500 | 750 | 750 | 500 | 900 | 900 | 850 | 2500 | 2500 | 2000 | 2050 | 2050 | 248 | 950 | 1650 | 500 | 760 | 760 | 760 | 2000 | 2000 | 275 | 275 | 275 | 275 | 1000 | 598 | 659 | 849 | 1800 | 1800 | 1793 | 1800 | 2000 | 2000 | 1987 | 2000 | 3000 | 2999 | 2997 | 500 | 249.1 | 500 | 1017 | 1045 | 1016 | 3070 | 3070 | 900 | 750 | 500 | 3070
17 | 500 | 3000 | 17 | 100% | 100% | 1500 | 271.3 | 335 | 628.7 | 606.9 | 500 | 910 | 400 | 500 | 600 | 700 | 810 | 500 | 600 | 700 | 750 | 810 | 2310 | 2050 | 2350 | 3020 | 3020 | 2350 | 3050 | 2500 | 7580 | 500 | 500 | 500 | 850 | 850 | 2000 | 950 | 1000 | 1700 | 2000 | 2000 | 1500 | 1500 | 1500 | 1800 | 1500 | 1800 | 1500 | 1500 | 3000 | 3000 | 2000 | 2500 | 609.2 | 230.5 | 1364 | 100.6 | 202 | 228 | 500 | 750 | 750 | 500 | 900 | 900 | 850 | 2500 | 2500 | 2000 | 2050 | 2050 | 246 | 950 | 1650 | 500 | 760 | 760 | 760 | 2000 | 2000 | 275 | 275 | 275 | 275 | 1000 | 600 | 660 | 850 | 1800 | 1800 | 1798 | 1800 | 2000 | 2000 | 1995 | 2000 | 3000 | 3000 | 3000 | 500 | 247.9 | 500 | 1017 | 1045 | 1016 | 3070 | 3070 | 900 | 750 | 500 | 3070
18 | 500 | 3000 | 18 | 100% | 100% | 1500 | 259.5 | 335 | 628.6 | 593.4 | 500 | 910 | 400 | 500 | 600 | 700 | 810 | 500 | 600 | 700 | 750 | 810 | 2310 | 2050 | 2350 | 3020 | 3020 | 2350 | 3050 | 2500 | 7580 | 500 | 500 | 500 | 850 | 850 | 2000 | 950 | 1000 | 1700 | 2000 | 2000 | 1500 | 1500 | 1500 | 1800 | 1500 | 1800 | 1500 | 1500 | 3000 | 3000 | 2000 | 2500 | 600 | 218.5 | 1322 | 99.8 | 198 | 227 | 500 | 750 | 750 | 500 | 900 | 900 | 850 | 2500 | 2500 | 2000 | 2050 | 2050 | 246 | 950 | 1650 | 500 | 760 | 760 | 760 | 2000 | 2000 | 275 | 275 | 275 | 275 | 1000 | 600 | 660 | 850 | 1800 | 1800 | 1800 | 1800 | 2000 | 2000 | 1999 | 2000 | 3000 | 3000 | 3000 | 500 | 246.7 | 500 | 1017 | 1045 | 1016 | 3070 | 3070 | 900 | 750 | 500 | 3070
19 | 500 | 3000 | 19 | 100% | 100% | 1500 | 254.7 | 335 | 630.5 | 571.3 | 500 | 910 | 400 | 500 | 600 | 700 | 810 | 500 | 600 | 700 | 750 | 810 | 2310 | 2050 | 2350 | 3020 | 3020 | 2350 | 3050 | 2500 | 7580 | 500 | 500 | 500 | 850 | 850 | 2000 | 950 | 1000 | 1700 | 2000 | 2000 | 1500 | 1500 | 1500 | 1800 | 1500 | 1800 | 1500 | 1500 | 3000 | 3000 | 2000 | 2500 | 595 | 206.8 | 1319 | 99.4 | 192 | 225 | 500 | 750 | 750 | 500 | 900 | 900 | 850 | 2500 | 2500 | 2000 | 2050 | 2050 | 246 | 950 | 1650 | 500 | 760 | 760 | 760 | 2000 | 2000 | 275 | 275 | 275 | 275 | 1000 | 600 | 660 | 850 | 1800 | 1800 | 1800 | 1800 | 2000 | 2000 | 2000 | 2000 | 3000 | 3000 | 3000 | 500 | 244.4 | 500 | 1017 | 1045 | 1016 | 3070 | 3070 | 900 | 750 | 500 | 3070
20 | 500 | 3000 | 20 | 100% | 100% | 1500 | 252.9 | 335 | 621.2 | 545.6 | 500 | 910 | 400 | 500 | 600 | 700 | 810 | 500 | 600 | 700 | 750 | 810 | 2310 | 2050 | 2350 | 3020 | 3020 | 2350 | 3050 | 2500 | 7580 | 500 | 500 | 500 | 850 | 850 | 2000 | 950 | 1000 | 1700 | 2000 | 2000 | 1500 | 1500 | 1500 | 1800 | 1500 | 1800 | 1500 | 1500 | 3000 | 3000 | 2000 | 2500 | 600 | 193.4 | 1314 | 98.6 | 184 | 222 | 500 | 750 | 750 | 500 | 900 | 900 | 850 | 2500 | 2500 | 2000 | 2050 | 2050 | 246 | 950 | 1650 | 500 | 760 | 760 | 760 | 2000 | 2000 | 0 | 275 | 0 | 275 | 1000 | 600 | 660 | 850 | 1800 | 1800 | 1800 | 1800 | 2000 | 2000 | 2000 | 2000 | 3000 | 3000 | 3000 | 500 | 242.1 | 500 | 1017 | 1045 | 1016 | 3070 | 3070 | 900 | 750 | 500 | 3070
21 | 500 | 3000 | 21 | 100% | 100% | 0 | 254 | 335 | 620 | 524.7 | 500 | 910 | 400 | 500 | 600 | 700 | 810 | 500 | 600 | 700 | 750 | 810 | 2310 | 2050 | 2350 | 3020 | 3020 | 2350 | 3050 | 2500 | 7580 | 500 | 500 | 500 | 850 | 850 | 2000 | 950 | 1000 | 1700 | 2000 | 2000 | 1500 | 1500 | 1500 | 1780 | 1500 | 1780 | 1500 | 1500 | 3000 | 3000 | 2000 | 2500 | 0 | 0 | 1312 | 97.8 | 179 | 218 | 500 | 750 | 750 | 500 | 900 | 900 | 850 | 2500 | 2500 | 2000 | 2050 | 2050 | 246 | 950 | 1650 | 500 | 760 | 760 | 760 | 2000 | 2000 | 0 | 275 | 0 | 275 | 1000 | 0 | 660 | 850 | 1800 | 1800 | 1800 | 1800 | 2000 | 2000 | 2000 | 2000 | 3000 | 3000 | 3000 | 500 | 238.2 | 500 | 1017 | 0 | 0 | 3070 | 3070 | 900 | 750 | 500 | 3070
22 | 500 | 3000 | 22 | 100% | 100% | 0 | 254.9 | 335 | 620 | 510 | 500 | 910 | 400 | 500 | 600 | 700 | 810 | 500 | 600 | 700 | 750 | 810 | 2310 | 2050 | 2350 | 3020 | 3020 | 2350 | 3050 | 2500 | 7580 | 500 | 500 | 500 | 850 | 819.3 | 2000 | 950 | 1000 | 1700 | 2000 | 2000 | 1500 | 1500 | 1500 | 1760 | 1500 | 1760 | 1500 | 1500 | 3000 | 3000 | 2000 | 2500 | 0 | 0 | 1307 | 97.3 | 175 | 215 | 500 | 750 | 750 | 500 | 900 | 900 | 850 | 2500 | 2500 | 2000 | 2050 | 2050 | 246 | 950 | 1650 | 500 | 760 | 760 | 760 | 2000 | 2000 | 0 | 275 | 0 | 275 | 1000 | 0 | 660 | 850 | 1800 | 1800 | 1800 | 1800 | 2000 | 2000 | 2000 | 2000 | 3000 | 3000 | 3000 | 500 | 234.4 | 500 | 1017 | 0 | 0 | 3070 | 3070 | 900 | 750 | 500 | 3070
23 | 500 | 3000 | 23 | 100% | 100% | 0 | 255.8 | 335 | 620 | 500.7 | 500 | 910 | 400 | 500 | 600 | 700 | 810 | 500 | 600 | 700 | 750 | 810 | 2310 | 2050 | 2350 | 3020 | 3020 | 2350 | 3050 | 2500 | 7580 | 500 | 500 | 500 | 850 | 791.1 | 2000 | 950 | 1000 | 1700 | 2000 | 2000 | 1500 | 1500 | 1500 | 1740 | 1500 | 1740 | 1500 | 1500 | 3000 | 3000 | 2000 | 2500 | 0 | 0 | 1299 | 97.3 | 174 | 212 | 500 | 750 | 750 | 500 | 900 | 900 | 850 | 2500 | 2500 | 2000 | 2050 | 2050 | 246 | 950 | 1650 | 500 | 760 | 760 | 760 | 2000 | 2000 | 0 | 275 | 0 | 275 | 1000 | 0 | 660 | 850 | 1800 | 1800 | 1800 | 1800 | 2000 | 2000 | 2000 | 2000 | 3000 | 3000 | 3000 | 500 | 230.6 | 500 | 1017 | 0 | 0 | 3070 | 3070 | 900 | 750 | 500 | 3070
24 | 500 | 3000 | 24 | 100% | 100% | 0 | 256.7 | 335 | 620 | 478.7 | 500 | 910 | 400 | 500 | 600 | 700 | 810 | 500 | 600 | 700 | 750 | 810 | 2310 | 2050 | 2350 | 3020 | 3020 | 2350 | 3050 | 2500 | 7580 | 500 | 500 | 0 | 850 | 0 | 2000 | 950 | 1000 | 1700 | 2000 | 2000 | 1500 | 1500 | 1500 | 1720 | 1500 | 1720 | 1500 | 1500 | 3000 | 3000 | 2000 | 2500 | 0 | 0 | 1292 | 98 | 174 | 212 | 500 | 750 | 750 | 500 | 900 | 900 | 850 | 2500 | 2500 | 2000 | 2050 | 2050 | 246 | 950 | 1650 | 500 | 760 | 760 | 760 | 2000 | 2000 | 0 | 275 | 0 | 275 | 1000 | 0 | 660 | 850 | 1800 | 1800 | 1800 | 1800 | 2000 | 2000 | 2000 | 2000 | 3000 | 3000 | 3000 | 500 | 226.9 | 500 | 1017 | 0 | 0 | 3070 | 3070 | 900 | 750 | 500 | 3070
25 | 500 | 3000 | 25 | 100% | 100% | 0 | 257.5 | 335 | 620 | 457.7 | 500 | 910 | 400 | 500 | 600 | 700 | 810 | 500 | 600 | 700 | 750 | 810 | 2310 | 2050 | 2350 | 3020 | 3020 | 2350 | 3050 | 2500 | 7580 | 500 | 500 | 0 | 850 | 0 | 2000 | 950 | 1000 | 1700 | 2000 | 2000 | 1500 | 1500 | 1500 | 1700 | 1500 | 1700 | 1500 | 1500 | 3000 | 3000 | 2000 | 2500 | 0 | 0 | 1292 | 99.7 | 177 | 213 | 500 | 750 | 750 | 500 | 900 | 900 | 850 | 2500 | 2500 | 2000 | 2050 | 2050 | 246 | 950 | 1650 | 500 | 760 | 760 | 760 | 2000 | 2000 | 0 | 275 | 0 | 275 | 1000 | 0 | 660 | 850 | 1800 | 1800 | 1800 | 1800 | 2000 | 2000 | 2000 | 2000 | 3000 | 3000 | 3000 | 500 | 223 | 500 | 1017 | 0 | 0 | 3070 | 3070 | 900 | 750 | 500 | 3070
0
IEC Classes | Ia | IIa |  | Ia |  | IIIb |  | Ia, IIa |  |  | III | Ia | IIa | IIa | IIa | IIa | IIa | S | S | S | S | S | Ia, IIa | IIa | IIa | IIa | Ia | IIa | IIa | S | Ia | I? | Ia | IIa | Ia | IIa | IIa | IIa/IIIa | IIa/IIIa | Ia | Ia | Ia | IIa | IIa | IIa | IIa | IIa | IIa | IIIa | IIIa | IIa | IIa | IIIa | IIIa |  |  | various | IIa |  |  | Ib, IIa | Ib, IIa | IIb, IIIa | IIa | IIa | IIa | IIIa | IIa | IIIa | ? | ? | ? | ? |  |  | IIa | Ia | IIa | IIIa | IIa | IIIa | IIIa | IIa | IIIa | IIa | IIIa | Ia | ? |  | IIa | IIa | IIa | IIa | IIa | IIa | IIa | IIa | Ia | Ia | Ia | Ia | IIa/IIIa | IIa |  | IIIb |  | IIa or IIIa | IIa or IIIa |  |  |  | IIa or IIIa
Hub Heights | 30, 50 | 95, 143 |  | 30, 50 |  | 60, 80 | 30, 40 | 37, 44, 49, 50 | 42.3, 50 | 42, 50, 55, 58 | 50, 70 | 45, 55 | 50, 55.6, 60, 75.6 | 50, 55, 60, 76 | 50, 55.6, 60, 75.6 | 50, 55.6, 60, 75.6 | 50, 55.6, 60, 75.6 | 60, 73 | 60, 73 | 60, 73 | 60, 73 | 60, 73 | 57, 64, 85, 98, 113 | 78, 85, 98, 108, 138 | 78, 85, 98, 108, 138 | 78, 85, 98, 108, 138 | 78, 84 | 84, 85, 98, 104, 108, 138 | 99, 135, 149 | 92.5, 149 | 135 | 33.2,50,60 | 44, 49, 55, 65 | 44, 55, 65, 74 | 44, 55, 65 | 49, 55, 65 | 80,105,120+ | 65 | 65 | 60 | 60 | 60 | 61.5, 65, 80 | 61.5, 65, 80 | 60, 80, 100 | 60, 80 | 60, 80, 100 | 60, 80 | 80, 100 | 80, 100 | 97 | 95, 143 | 95, 143 | 95, 143 | 46, 50 | 36 | 46, 60, 69, 85 | 37, 30 | 30, 40 | 30, 40, 50 | 40, 65 | 40, 65 | 40, 65 | 44, 46, 49, 50 | 59, 71 | 59, 71 | 70 | 98 | 80, 100 | 59,69,80,100 | 59,69,80,100 | 68.5,78.5,80,100 | 30? |  |  | 50, 60 | 50 | 60 | 68 | 80 | 80 | 32 | 32 | 55, 60 | 55, 60 | 70 | 40, 45, 50 | 40? | 44, 49, 55, 60, 65, 74, 86 | 80, 95, 105, 125 | 80, 95, 105, 125 | 80, 95, 105, 125 | 80, 95, 105, 125 | 80, 95, 105, 125 | 80, 95, 105, 125 | 80, 95, 105, 125 | 80, 95, 105, 125 | 80 | 80 | 80 | 30, 50 | 30,40 | 50, (65 Lattice) |  | 70 |  | 80, 88, 100 | 80, 88, 100 |  |  |  | 80, 88, 100
Rotordia [m] | 33.2 | 100.9 |  | 33.2 |  | 82 | 33 | 33.4 | 41 | 44 | 54 | 44 | 48 | 48 | 48 | 48 | 48 | 52.9 | 52.9 | 52.9 | 52.9 | 52.9 | 71 | 82 | 82 | 82 | 82 | 92 | 101 | 115 | 127 | 47 | 52 | 58 | 52 | 58 | 82.5 | 77 | 77 | 70.1 | 70.1 | 70.1 | 76.6 | 76.7 | 80.3 | 80.3 | 80.3 | 80.3 | 86.3 | 86.3 | 101 | 100.9 | 104.1 | 104.1 | 48 | 31 | 60 | 21 | 29.1 | 29.1 | 47 | 47 | 54 | 56 | 56 | 56 | 60 | 90 | 100 | 82 | 82 | 92.5 | 31 |  |  | 48 | 50 | 54 | 57 | 88 | 93 | 32 | 30 | 32 | 30 | 62 | 44 | 47 | 52 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 90 | 33.2 | 29/30 | 48 |  | 60 |  | 90 | 100 |  |  |  | 103
A [M2] | 866 | 7992 |  | 866 |  | 5289 | 855 | 876 | 1320 | 1521 | 1521 | 1521 | 1810 | 1810 | 1810 | 1810 | 1810 | 2198 | 2198 | 2198 | 2198 | 2198 | 3959 | 5281 | 5281 | 5281 | 5281 | 6648 | 8012 | 10387 | 12668 | 1735 | 2124 | 2642 | 2124 | 2642 | 5350 | 4657 | 4657 | 3859.5 | 3859.5 | 3859.5 | 4608 | 4657 | 5064 | 5064 | 5064 | 5064 | 5849 | 5849 | 7992 | 7992 | 8495 | 8495 | 1810 | 755 | 2828 | 346 | 664 | 664 | 1735 | 1735 | 2290 | 2463 | 2463 | 2463 | 2827 | 6362 | 7854 | 5281 | 5281 | 6720 | 1521 |  |  | 1810 | 1964 | 2290 | 2552 | 6079 | 6790 | 804 | 707 | 804 | 707 | 3020 | 1521 | 1735 | 2124 | 6362 | 6362 | 6362 | 6362 | 6362 | 6362 | 6362 | 6362 | 6362 | 6362 | 6362 | 866 | 661/707 | 1810 |  | 2827 |  | 6475 | 7917 |  |  |  | 8332
Comments | Stop Wind Spd: | 0 | [31 empty] | HH44 and 74 = IEC IIIb |  | HH44 and 74 = IEC IIIb | In development | [19 empty] | Stall regulated |  | Stall regulated | Stall regulated | Active Stall | Active Stall | Active Stall | [13 empty] | DD-PM | DD-PM | DD-PM | GB-PM | GB-PM | Also as 200kW or 250 kW | Also as 200kW or 250 kW | Also as 200kW or 250 kW | Also as 200kW or 250 kW |  |  |  |  | HH125 has DiBt II | HH125 has DiBt II | HH125 has DiBt II | HH125 has DiBt II | HH125 has DiBt II | HH125 has DiBt II | HH125 has DiBt II | HH125 has DiBt II |  |  |  | Stop Wind Spd: | Estimated
[37 empty] | aka GWP82-2000 | [24 empty] | aka GWP47-750 | [38 empty] | 30 m/s
[37 empty] | Global Wind Power | [24 empty] | Global Wind Power
[6 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93 | 94 | 95 | 96 | 97 | 98 | 99 | 100 | 101 | 102 | 103 |  |  |  | 104
|  |  |  | First WindFlow W33-500 Rotordia [m] 33.2 Hub Heights 30, 50 October 2009 | Second Leitwind LTW101/3.0MW Rotordia [m] Hub Heights March 2012 | Acciona AW82/1500kW Rotordia [m] 82 Hub Heights 60, 80 June 2012 | AnBonus AN33/300kW Rotordia [m] 33 Hub Heights 30, 40 June 2001 | Enercon E33/330kW Rotordia [m] 33.4 Hub Heights 37, 44, 49, 50 March 2012 | AnBonus AN41/600kW Rotordia [m] 41 Hub Heights 42.3, 50 June 2001 | AnBonus AN44/600kW Rotordia [m] 44 Hub Heights 42, 50, 55, 58 June 2001 | ATB Riva Calzoni ATB500 Rotordia [m] 54 Hub Heights 50, 70 April 2013 | Enercon E44/900kW Rotordia [m] 44 Hub Heights 45, 55 September 2012 | Enercon E48/400kW Rotordia [m] 48 Hub Heights 50, 55.6, 60, 75.6 September 2012 | Enercon E48/500kW Rotordia [m] 48 Hub Heights 50, 55, 60, 76 September 2011 | Enercon E48/600kW Rotordia [m] 48 Hub Heights 50, 55.6, 60, 75.6 September 2012 | Enercon E48/700kW Rotordia [m] 48 Hub Heights 50, 55.6, 60, 75.6 September 2012 | Enercon E48/800kW Rotordia [m] 48 Hub Heights 50, 55.6, 60, 75.6 September 2012 | Enercon E53/500 Rotordia [m] 52.9 Hub Heights 60, 73 May 2006 | Enercon E53/600 Rotordia [m] 52.9 Hub Heights 60, 73 May 2006 | Enercon E53/700 Rotordia [m] 52.9 Hub Heights 60, 73 May 2006 | Enercon E53/750 Rotordia [m] 52.9 Hub Heights 60, 73 May 2006 | Enercon E53/800 Rotordia [m] 52.9 Hub Heights 60, 73 September 2012 | Enercon E70/2.3MW Rotordia [m] 71 Hub Heights 57, 64, 85, 98, 113 September 2012 | Enercon E82 E1/2MW Rotordia [m] 82 Hub Heights 78, 85, 98, 108, 138 September 2012 | Enercon E82 E2/2.3MW Rotordia [m] 82 Hub Heights 78, 85, 98, 108, 138 September 2012 | Enercon E82 E3 /3MW Rotordia [m] 82 Hub Heights 78, 85, 98, 108, 138 September 2012 | Enercon E82 E4 / 3MW Rotordia [m] 82 Hub Heights 78, 84 September 2012 | Enercon E92/2.35MW Rotordia [m] 92 Hub Heights 84, 85, 98, 104, 108, 138 September 2012 | Enercon E101/3MW Rotordia [m] 101 Hub Heights 99, 135, 149 September 2012 | Enercon E115/2.5MW Rotordia [m] 115 Hub Heights 92.5, 149 September 2012 | Enercon E126/7,5MW Rotordia [m] 127 Hub Heights 135 September 2012 | RRB / Vestas V47/500 Rotordia [m] 47 Hub Heights 33.2,50,60 April 2011 | Gamesa G52/500kW Rotordia [m] 52 Hub Heights 44, 49, 55, 65 July 2013 | Gamesa G58/500kW Rotordia [m] 58 Hub Heights 44, 55, 65, 74 June 2012 | Gamesa G52/850kW Rotordia [m] 52 Hub Heights 44, 55, 65 Jun.2007 & Nov. 2010 | Gamesa G58/850kW Rotordia [m] 58 Hub Heights 49, 55, 65 March 2009 | lagerwey L82/2000kW Rotordia [m] 82.5 Hub Heights 80,105,120+ September 2009 | Leitwind LTW77/950kW Rotordia [m] 77 Hub Heights 65 January 1900 | Leitwind LTW77/1.0MW Rotordia [m] 77 Hub Heights 65 September 2009 | Leitwind LTW70/1.7MW Rotordia [m] 70.1 Hub Heights 60 February 2012 | Leitwind LTW70/2.0MW Rotordia [m] 70.1 Hub Heights 60 February 2012 | Leitwind LTW70/2.0MW Rotordia [m] 70.1 Hub Heights 60 March 2012 | Leitwind LTW77/1.5MW Rotordia [m] 76.6 Hub Heights 61.5, 65, 80 March 2012 | Leitwind LTW77/1.5MW Rotordia [m] 76.7 Hub Heights 61.5, 65, 80 March 2012 | Leitwind LTW80/1.5MW Rotordia [m] 80.3 Hub Heights 60, 80, 100 April 2012 | Leitwind LTW80/1.8MW Rotordia [m] 80.3 Hub Heights 60, 80 April 2012 | Leitwind LTW80/1.5MW Rotordia [m] 80.3 Hub Heights 60, 80, 100 March 2012 | Leitwind LTW80/1.8MW Rotordia [m] 80.3 Hub Heights 60, 80 March 2012 | Leitwind LTW86/1.5MW Rotordia [m] 86.3 Hub Heights 80, 100 April 2012 | Leitwind LTW86/1.5MW Rotordia [m] 86.3 Hub Heights 80, 100 March 2012 | Leitwind LTW101/3.0MW Rotordia [m] 101 Hub Heights 97 April 2012 | Leitwind LTW101/3.0MW Rotordia [m] 100.9 Hub Heights 95, 143 March 2012 | Leitwind LTW104/2.0MW Rotordia [m] 104.1 Hub Heights 95, 143 March 2012 | Leitwind LTW104/2.5MW Rotordia [m] 104.1 Hub Heights 95, 143 March 2012 | Neg-Micon NM-48/600 Rotordia [m] 48 Hub Heights 46, 50 January 1900 | Neg-Micon M750 Rotordia [m] 31 Hub Heights 36 April 2014 | Nordex N60/1300kW Rotordia [m] 60 Hub Heights 46, 60, 69, 85 March 2014 | Northern Power 100 Rotordia [m] 21 Hub Heights 37, 30 March 2012 | Norwin 47‐STALL‐200 kW Rotordia [m] 29.1 Hub Heights 30, 40 August 2012 | Norwin 47‐STALL‐225 kW Rotordia [m] 29.1 Hub Heights 30, 40, 50 August 2012 | Norwin 47‐ASR‐500 kW Rotordia [m] 47 Hub Heights 40, 65 August 2012 | Norwin 47‐ASR‐750 kW Rotordia [m] 47 Hub Heights 40, 65 August 2012 | Norwin 54‐ASR‐750 kW Rotordia [m] 54 Hub Heights 40, 65 August 2012 | Powerwind PW56/500kW Rotordia [m] 56 Hub Heights 44, 46, 49, 50 January 2011 | Powerwind PW56/900kW Rotordia [m] 56 Hub Heights 59, 71 March 2009 | Powerwind PW56/900kW Rotordia [m] 56 Hub Heights 59, 71 November 2007 | Powerwind PW60/850kW Rotordia [m] 60 Hub Heights 70 January 1900 | Powerwind PW90/2,5MW Rotordia [m] 90 Hub Heights 98 July 2010 | Powerwind PW100/2,5MW Rotordia [m] 100 Hub Heights 80, 100 January 1900 | REPower MM82/2,0MW Rotordia [m] 82 Hub Heights 59,69,80,100 October 2004 | REPower MM82/2050kW Rotordia [m] 82 Hub Heights 59,69,80,100 April 2009 | REPower MM92/2050kW Rotordia [m] 92.5 Hub Heights 68.5,78.5,80,100 May 2009 | SRC Green Power SRC31-250 Rotordia [m] 31 Hub Heights 30? March 2013 | Suslon S64/950kW Rotordia [m] Hub Heights January 1900 | TWT82/1650 Rotordia [m] Hub Heights January 1900 | Turbowinds T500/48 Rotordia [m] 48 Hub Heights 50, 60 March 2011 | Unison U50/750kW Rotordia [m] 50 Hub Heights 50 January 1900 | Unison U54/750kW Rotordia [m] 54 Hub Heights 60 January 1900 | Unison U57/750kW Rotordia [m] 57 Hub Heights 68 January 1900 | Unison U88/2000kW Rotordia [m] 88 Hub Heights 80 January 1900 | Unison U93/2000kW Rotordia [m] 93 Hub Heights 80 January 1900 | Vergnet GEV MP R 32/275kW Rotordia [m] 32 Hub Heights 32 June 2012 | Vergnet GEV MP R 30/275kW Rotordia [m] 30 Hub Heights 32 June 2012 | Vergnet GEV MP C 32/275kW Rotordia [m] 32 Hub Heights 55, 60 June 2012 | Vergnet GEV MP C 30/275kW Rotordia [m] 30 Hub Heights 55, 60 June 2012 | Vergnet GEV HP 62/1000kW Rotordia [m] 62 Hub Heights 70 June 2012 | Vestas V44/600kW Rotordia [m] 44 Hub Heights 40, 45, 50 Vestas 24.8.2000 | Vestas V47 / 660 kW Rotordia [m] 47 Hub Heights 40? January 1900 | Vestas V52/104.2dBA Rotordia [m] 52 Hub Heights 44, 49, 55, 60, 65, 74, 86 January 1900 | Vestas V90/1800kW (0) Rotordia [m] 90 Hub Heights 80, 95, 105, 125 September 2010 | Vestas V90/1800kW (1) Rotordia [m] 90 Hub Heights 80, 95, 105, 125 September 2010 | Vestas V90/1800kW (2) Rotordia [m] 90 Hub Heights 80, 95, 105, 125 September 2010 | Vestas V90/1800kW (3) Rotordia [m] 90 Hub Heights 80, 95, 105, 125 September 2010 | Vestas V90/2000kW (0) Rotordia [m] 90 Hub Heights 80, 95, 105, 125 September 2010 | Vestas V90/2000kW (1) Rotordia [m] 90 Hub Heights 80, 95, 105, 125 September 2010 | Vestas V90/2000kW (2) Rotordia [m] 90 Hub Heights 80, 95, 105, 125 September 2010 | Vestas V90/2000kW (3) Rotordia [m] 90 Hub Heights 80, 95, 105, 125 September 2010 | Vestas V90/3000kW 60Hz (mode 0) Rotordia [m] 90 Hub Heights 80 March 2007 | Vestas V90/3000kW 60Hz (mode 1) Rotordia [m] 90 Hub Heights 80 March 2007 | Vestas V90/3000kW 60Hz (mode 2) Rotordia [m] 90 Hub Heights 80 March 2007 | WindFlow W33-500 Rotordia [m] 33.2 Hub Heights 30, 50 October 2009 | Wind Technik Nord WTN250 Rotordia [m] 29/30 Hub Heights 30,40 July 2013 | Wind Technik Nord WTN500 Rotordia [m] 48 Hub Heights 50, (65 Lattice) July 2013 | WinWinD WWD56/1000 Rotordia [m] Hub Heights January 1900 | WinWinD WWD-1/60 Rotordia [m] 60 Hub Heights 70 April 2012 | WinWinD WWD64/1000 Rotordia [m] Hub Heights January 1900 | WinWinD WWD-3/90 Rotordia [m] 90 Hub Heights 80, 88, 100 April 2012 | WinWinD WWD-3/100 Rotordia [m] 100 Hub Heights 80, 88, 100 April 2012 |  |  |  | WinWinD WWD-3/103 Rotordia [m] 103 Hub Heights 80, 88, 100 April 2012
[5 empty] | First WindFlow W33-500 Rotordia [m] 33.2 | 1: '; 2: Second Leitwind LTW101/3.0MW Rotordia [m] 100.9
|  |  |  | 1 | Acciona AW82/1500kW Rotordia [m] 82 Hub Heights 60, 80 June 2012
|  |  |  | 2 | AnBonus AN33/300kW Rotordia [m] 33 Hub Heights 30, 40 June 2001
|  |  |  | 3 | Enercon E33/330kW Rotordia [m] 33.4 Hub Heights 37, 44, 49, 50 March 2012
|  |  |  | 4 | AnBonus AN41/600kW Rotordia [m] 41 Hub Heights 42.3, 50 June 2001
|  |  |  | 5 | AnBonus AN44/600kW Rotordia [m] 44 Hub Heights 42, 50, 55, 58 June 2001
|  |  |  | 6 | ATB Riva Calzoni ATB500 Rotordia [m] 54 Hub Heights 50, 70 April 2013
|  |  |  | 7 | Enercon E44/900kW Rotordia [m] 44 Hub Heights 45, 55 September 2012
|  |  |  | 8 | Enercon E48/400kW Rotordia [m] 48 Hub Heights 50, 55.6, 60, 75.6 September 2012
|  |  |  | 9 | Enercon E48/500kW Rotordia [m] 48 Hub Heights 50, 55, 60, 76 September 2011
|  |  |  | 10 | Enercon E48/600kW Rotordia [m] 48 Hub Heights 50, 55.6, 60, 75.6 September 2012
|  |  |  | 11 | Enercon E48/700kW Rotordia [m] 48 Hub Heights 50, 55.6, 60, 75.6 September 2012
|  |  |  | 12 | Enercon E48/800kW Rotordia [m] 48 Hub Heights 50, 55.6, 60, 75.6 September 2012
|  |  |  | 13 | Enercon E53/500 Rotordia [m] 52.9 Hub Heights 60, 73 May 2006
|  |  |  | 14 | Enercon E53/600 Rotordia [m] 52.9 Hub Heights 60, 73 May 2006
|  |  |  | 15 | Enercon E53/700 Rotordia [m] 52.9 Hub Heights 60, 73 May 2006
|  |  |  | 16 | Enercon E53/750 Rotordia [m] 52.9 Hub Heights 60, 73 May 2006
|  |  |  | 17 | Enercon E53/800 Rotordia [m] 52.9 Hub Heights 60, 73 September 2012
|  |  |  | 18 | Enercon E70/2.3MW Rotordia [m] 71 Hub Heights 57, 64, 85, 98, 113 September 2012
|  |  |  | 19 | Enercon E82 E1/2MW Rotordia [m] 82 Hub Heights 78, 85, 98, 108, 138 September 2012
|  |  |  | 20 | Enercon E82 E2/2.3MW Rotordia [m] 82 Hub Heights 78, 85, 98, 108, 138 September 2012
|  |  |  | 21 | Enercon E82 E3 /3MW Rotordia [m] 82 Hub Heights 78, 85, 98, 108, 138 September 2012
|  |  |  | 22 | Enercon E82 E4 / 3MW Rotordia [m] 82 Hub Heights 78, 84 September 2012
|  |  |  | 23 | Enercon E92/2.35MW Rotordia [m] 92 Hub Heights 84, 85, 98, 104, 108, 138 September 2012
|  |  |  | 24 | Enercon E101/3MW Rotordia [m] 101 Hub Heights 99, 135, 149 September 2012
|  |  |  | 25 | Enercon E115/2.5MW Rotordia [m] 115 Hub Heights 92.5, 149 September 2012
|  |  |  | 26 | Enercon E126/7,5MW Rotordia [m] 127 Hub Heights 135 September 2012
|  |  |  | 27 | RRB / Vestas V47/500 Rotordia [m] 47 Hub Heights 33.2,50,60 April 2011
|  |  |  | 28 | Gamesa G52/500kW Rotordia [m] 52 Hub Heights 44, 49, 55, 65 July 2013
|  |  |  | 29 | Gamesa G58/500kW Rotordia [m] 58 Hub Heights 44, 55, 65, 74 June 2012
|  |  |  | 30 | Gamesa G52/850kW Rotordia [m] 52 Hub Heights 44, 55, 65 Jun.2007 & Nov. 2010
|  |  |  | 31 | Gamesa G58/850kW Rotordia [m] 58 Hub Heights 49, 55, 65 March 2009
|  |  |  | 32 | lagerwey L82/2000kW Rotordia [m] 82.5 Hub Heights 80,105,120+ September 2009
|  |  |  | 33 | Leitwind LTW77/950kW Rotordia [m] 77 Hub Heights 65 January 1900
|  |  |  | 34 | Leitwind LTW77/1.0MW Rotordia [m] 77 Hub Heights 65 September 2009
|  |  |  | 35 | Leitwind LTW70/1.7MW Rotordia [m] 70.1 Hub Heights 60 February 2012
|  |  |  | 36 | Leitwind LTW70/2.0MW Rotordia [m] 70.1 Hub Heights 60 February 2012
|  |  |  | 37 | Leitwind LTW70/2.0MW Rotordia [m] 70.1 Hub Heights 60 March 2012
|  |  |  | 38 | Leitwind LTW77/1.5MW Rotordia [m] 76.6 Hub Heights 61.5, 65, 80 March 2012
|  |  |  | 39 | Leitwind LTW77/1.5MW Rotordia [m] 76.7 Hub Heights 61.5, 65, 80 March 2012
|  |  |  | 40 | Leitwind LTW80/1.5MW Rotordia [m] 80.3 Hub Heights 60, 80, 100 April 2012
|  |  |  | 41 | Leitwind LTW80/1.8MW Rotordia [m] 80.3 Hub Heights 60, 80 April 2012
|  |  |  | 42 | Leitwind LTW80/1.5MW Rotordia [m] 80.3 Hub Heights 60, 80, 100 March 2012
|  |  |  | 43 | Leitwind LTW80/1.8MW Rotordia [m] 80.3 Hub Heights 60, 80 March 2012
|  |  |  | 44 | Leitwind LTW86/1.5MW Rotordia [m] 86.3 Hub Heights 80, 100 April 2012
|  |  |  | 45 | Leitwind LTW86/1.5MW Rotordia [m] 86.3 Hub Heights 80, 100 March 2012
|  |  |  | 46 | Leitwind LTW101/3.0MW Rotordia [m] 101 Hub Heights 97 April 2012
|  |  |  | 47 | Leitwind LTW101/3.0MW Rotordia [m] 100.9 Hub Heights 95, 143 March 2012
|  |  |  | 48 | Leitwind LTW104/2.0MW Rotordia [m] 104.1 Hub Heights 95, 143 March 2012
|  |  |  | 49 | Leitwind LTW104/2.5MW Rotordia [m] 104.1 Hub Heights 95, 143 March 2012
|  |  |  | 50 | Neg-Micon NM-48/600 Rotordia [m] 48 Hub Heights 46, 50 January 1900
|  |  |  | 51 | Neg-Micon M750 Rotordia [m] 31 Hub Heights 36 April 2014
|  |  |  | 52 | Nordex N60/1300kW Rotordia [m] 60 Hub Heights 46, 60, 69, 85 March 2014
|  |  |  | 53 | Northern Power 100 Rotordia [m] 21 Hub Heights 37, 30 March 2012
|  |  |  | 54 | Norwin 47‐STALL‐200 kW Rotordia [m] 29.1 Hub Heights 30, 40 August 2012
|  |  |  | 55 | Norwin 47‐STALL‐225 kW Rotordia [m] 29.1 Hub Heights 30, 40, 50 August 2012
|  |  |  | 56 | Norwin 47‐ASR‐500 kW Rotordia [m] 47 Hub Heights 40, 65 August 2012
|  |  |  | 57 | Norwin 47‐ASR‐750 kW Rotordia [m] 47 Hub Heights 40, 65 August 2012
|  |  |  | 58 | Norwin 54‐ASR‐750 kW Rotordia [m] 54 Hub Heights 40, 65 August 2012
|  |  |  | 59 | Powerwind PW56/500kW Rotordia [m] 56 Hub Heights 44, 46, 49, 50 January 2011
|  |  |  | 60 | Powerwind PW56/900kW Rotordia [m] 56 Hub Heights 59, 71 March 2009
|  |  |  | 61 | Powerwind PW56/900kW Rotordia [m] 56 Hub Heights 59, 71 November 2007
|  |  |  | 62 | Powerwind PW60/850kW Rotordia [m] 60 Hub Heights 70 January 1900
|  |  |  | 63 | Powerwind PW90/2,5MW Rotordia [m] 90 Hub Heights 98 July 2010
|  |  |  | 64 | Powerwind PW100/2,5MW Rotordia [m] 100 Hub Heights 80, 100 January 1900
|  |  |  | 65 | REPower MM82/2,0MW Rotordia [m] 82 Hub Heights 59,69,80,100 October 2004
|  |  |  | 66 | REPower MM82/2050kW Rotordia [m] 82 Hub Heights 59,69,80,100 April 2009
|  |  |  | 67 | REPower MM92/2050kW Rotordia [m] 92.5 Hub Heights 68.5,78.5,80,100 May 2009
|  |  |  | 68 | SRC Green Power SRC31-250 Rotordia [m] 31 Hub Heights 30? March 2013
|  |  |  | 69 | Suslon S64/950kW Rotordia [m] Hub Heights January 1900
|  |  |  | 70 | TWT82/1650 Rotordia [m] Hub Heights January 1900
|  |  |  | 71 | Turbowinds T500/48 Rotordia [m] 48 Hub Heights 50, 60 March 2011
|  |  |  | 72 | Unison U50/750kW Rotordia [m] 50 Hub Heights 50 January 1900
|  |  |  | 73 | Unison U54/750kW Rotordia [m] 54 Hub Heights 60 January 1900
|  |  |  | 74 | Unison U57/750kW Rotordia [m] 57 Hub Heights 68 January 1900
|  |  |  | 75 | Unison U88/2000kW Rotordia [m] 88 Hub Heights 80 January 1900
|  |  |  | 76 | Unison U93/2000kW Rotordia [m] 93 Hub Heights 80 January 1900
|  |  |  | 77 | Vergnet GEV MP R 32/275kW Rotordia [m] 32 Hub Heights 32 June 2012
|  |  |  | 78 | Vergnet GEV MP R 30/275kW Rotordia [m] 30 Hub Heights 32 June 2012
|  |  |  | 79 | Vergnet GEV MP C 32/275kW Rotordia [m] 32 Hub Heights 55, 60 June 2012
|  |  |  | 80 | Vergnet GEV MP C 30/275kW Rotordia [m] 30 Hub Heights 55, 60 June 2012
|  |  |  | 81 | Vergnet GEV HP 62/1000kW Rotordia [m] 62 Hub Heights 70 June 2012
|  |  |  | 82 | Vestas V44/600kW Rotordia [m] 44 Hub Heights 40, 45, 50 Vestas 24.8.2000
|  |  |  | 83 | Vestas V47 / 660 kW Rotordia [m] 47 Hub Heights 40? January 1900
|  |  |  | 84 | Vestas V52/104.2dBA Rotordia [m] 52 Hub Heights 44, 49, 55, 60, 65, 74, 86 January 1900
|  |  |  | 85 | Vestas V90/1800kW (0) Rotordia [m] 90 Hub Heights 80, 95, 105, 125 September 2010
|  |  |  | 86 | Vestas V90/1800kW (1) Rotordia [m] 90 Hub Heights 80, 95, 105, 125 September 2010
|  |  |  | 87 | Vestas V90/1800kW (2) Rotordia [m] 90 Hub Heights 80, 95, 105, 125 September 2010
|  |  |  | 88 | Vestas V90/1800kW (3) Rotordia [m] 90 Hub Heights 80, 95, 105, 125 September 2010
|  |  |  | 89 | Vestas V90/2000kW (0) Rotordia [m] 90 Hub Heights 80, 95, 105, 125 September 2010
|  |  |  | 90 | Vestas V90/2000kW (1) Rotordia [m] 90 Hub Heights 80, 95, 105, 125 September 2010
|  |  |  | 91 | Vestas V90/2000kW (2) Rotordia [m] 90 Hub Heights 80, 95, 105, 125 September 2010
|  |  |  | 92 | Vestas V90/2000kW (3) Rotordia [m] 90 Hub Heights 80, 95, 105, 125 September 2010
|  |  |  | 93 | Vestas V90/3000kW 60Hz (mode 0) Rotordia [m] 90 Hub Heights 80 March 2007
|  |  |  | 94 | Vestas V90/3000kW 60Hz (mode 1) Rotordia [m] 90 Hub Heights 80 March 2007
|  |  |  | 95 | Vestas V90/3000kW 60Hz (mode 2) Rotordia [m] 90 Hub Heights 80 March 2007
|  |  |  | 96 | WindFlow W33-500 Rotordia [m] 33.2 Hub Heights 30, 50 October 2009
|  |  |  | 97 | Wind Technik Nord WTN250 Rotordia [m] 29/30 Hub Heights 30,40 July 2013
|  |  |  | 98 | Wind Technik Nord WTN500 Rotordia [m] 48 Hub Heights 50, (65 Lattice) July 2013
|  |  |  | 99 | WinWinD WWD56/1000 Rotordia [m] Hub Heights January 1900
|  |  |  | 100 | WinWinD WWD-1/60 Rotordia [m] 60 Hub Heights 70 April 2012
|  |  |  | 101 | WinWinD WWD64/1000 Rotordia [m] Hub Heights January 1900
|  |  |  | 102 | WinWinD WWD-3/90 Rotordia [m] 90 Hub Heights 80, 88, 100 April 2012
|  |  |  | 103 | WinWinD WWD-3/100 Rotordia [m] 100 Hub Heights 80, 88, 100 April 2012
|  |  |  | 104 | 0
|  |  |  | 105 | 0
|  |  |  | 106 | 0
Note on BN6: R.Haye: Powercurve data from WindPRO.
Note on BO6: R.Haye: Power Curve data already in sheet.
Note on S39: Enercon: IEC S: Vav und Vext sind vom Hersteller zu bestimmen.
Note on T39: Enercon: IEC S: Vav und Vext sind vom Hersteller zu bestimmen.
Note on U39: Enercon: IEC S: Vav und Vext sind vom Hersteller zu bestimmen.
Note on V39: Enercon: IEC S: Vav und Vext sind vom Hersteller zu bestimmen.
Note on W39: Enercon: IEC S: Vav und Vext sind vom Hersteller zu bestimmen.

## Wind Study
wind | G | SWT | Hub | V | GE
speed | Electrical | Electrical power [kW] | height | Electrical | Electrical
[m/s] | power [kW] | [kW] | wind | power | power
4 | 89 | 126 | speed [m/s] | [kW] | [kW]
5 | 226 | 282 | 3.5 | 50 | 14
6 | 421 | 514 | 4 | 106 | 77
7 | 687 | 836 | 4.5 | 173 | 155
8 | 1043 | 1262 | 5 | 248 | 248
9 | 1464 | 1803 | 5.5 | 338 | 362
10 | 1793 | 2203 | 6 | 443 | 484
11 | 1943 | 2295 | 6.5 | 556 | 618
12 | 1987 | 2300 | 7 | 705 | 777
13 | 1998 | 2300 | 7.5 | 873 | 952
14 | 2000 | 2300 | 8 | 1063 | 1130
15 | 2000 | 2300 | 8.5 | 1269 | 1290
16 | 2000 | 2300 | 9 | 1474 | 1418
17 | 2000 | 2300 | 9.5 | 1641 | 1512
18 | 2000 | 2300 | 10 | 1744 | 1570
19 | 2000 | 2300 | 10.5 | 1792 | 1593
20 | 2000 | 2300 | 11 | 1808 | 1608
21 | 2000 | 2300 | 11.5 | 1814 | 1619
22 | 1906 | 2300 | 12 | 1815 | 1620
23 | 1681 | 2300 | 12.5 | 1815 | 1620
24 | 1455 | 2300 | 13 | 1815 | 1620
25 | 1230 | 2300 | 13.5 | 1815 | 1620
|  |  | 14 | 1815 | 1620
|  |  | 14.5 | 1815 | 1620
|  |  | 15 | 1815 | 1620
|  |  | 15.5 | 1815 | 1620
|  |  | 16 | 1815 | 1620
|  |  | 16.5 | 1815 | 1620
|  |  | 17 | 1815 | 1620
|  |  | 17.5 | 1815 | 1620
|  |  | 18 | 1815 | 1620
|  |  | 18.5 | 1815 | 1620
|  |  | 19 | 1815 | 1620
|  |  | 19.5 | 1815 | 1620
|  |  | 20 | 1815 | 1620
|  |  | 20.5 | 0 | 1620
|  |  | 21 | 0 | 1620
|  |  | 21.5 | 0 | 1620
|  |  | 22 | 0 | 1620
|  |  | 22.5 | 0 | 1620
|  |  | 23 | 0 | 1620
|  |  | 23.5 | 0 | 1620
|  |  | 24 | 0 | 1620
|  |  | 24.5 | 0 | 1620
|  |  | 25 | 0 | 1620

## Retscreen 2010 Power Curves
Manufacturer | AAER | [16 empty] | AAER |  |  | Atlantic Orient |  |  | Bergey Windpower |  |  | Energie PGE |  |  | Eoltec SAS |  |  | Husumer |  |  | Jeumont |  |  | Northern Power Systems |  |  | ReDriven |  |  | REpower |  |  | Siemens |  |  | Sustainable Energy Technologies |  |  | Suzlon |  |  | Vergnet |  |  | Wind Energy Solutions Canada |  |  | Windtec
Model | A-1000/S - 70 | [16 empty] | A-1000/S - 70 |  |  | AOC 15/50 - 25m |  |  | BERGEY BWC EXCEL - 18.3m |  |  | PGE 11/35 - 25m |  |  | Scirocco E5.6-6 - 18m |  |  | HSW 1,000/57 - 55m |  |  | JEUMONT J48-CL1 - 46m |  |  | NW100/19 - 25m |  |  | 10 KW |  |  | 5M - 100m |  |  | AN BONUS 1 MW - 45m |  |  | Chinook 2000 - VAWT - 16.59m |  |  | S.33/350 - 50m |  |  | VERGNET GEV 10/20 - 18m |  |  | WES 18 - 30m |  |  | WINDTEC 1,566 - 67m
Number of turbines | 1 | [17 empty] | 1 |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1 |  |  | 1
Power capacity | 1000 | [16 empty] | kW | 1000 |  | kW | 50 |  | kW | 10 |  | kW | 35 |  | kW | 6 |  | kW | 1050 |  | kW | 750 |  | kW | 100 |  | kW | 10 |  | kW | 5000 |  | kW | 1000 |  | kW | 250 |  | kW | 350 |  | kW | 20 |  | kW | 80 |  | kW | 1500
Hub height | 70 | [16 empty] | m | 70 |  | m | 25 |  | m | 18.3 |  | m | 25 |  | m | 18 |  | m | 55 |  | m | 46 |  | m | 25 |  | m | 18 |  | m | 100 |  | m | 45 |  | m | 16.59 |  | m | 50 |  | m | 18 |  | m | 30 |  | m | 67
Rotor diameter per turbine | 54 |  |  |  | 1 | [12 empty] | m | 54 |  | m | 15 |  | m | 7 |  | m | 11 |  | m | 5.6 |  | m | 57 |  | m | 48 |  | m | 19.1 |  | m | 8 |  | m | 126 |  | m | 54.2 |  | m | 21.5 |  | m | 33.4 |  | m | 10 |  | m | 18 |  | m | 66
Swept area per turbine | 2290 | [16 empty] | m² | 2290 |  | m² | 176.71 |  | m² | 38.48 |  | m² | 95.03 |  | m² | 24.6 |  | m² | 2551.76 |  | m² | 1809.56 |  | m² | 284 |  | m² | 50.27 |  | m² | 12469 |  | m² | 2307.22 |  | m² | 420 |  | m² | 876.16 |  | m² | 78.54 |  | m² | 254 |  | m² | 3421.19
Col Index | 1 | [16 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47
Code Number | 1 |  |  | AAER | Atlantic Orient | Bergey Windpower | Energie PGE | Eoltec SAS | Husumer | Jeumont | Northern Power Systems | ReDriven | REpower | Siemens | Sustainable Energy Technologies | Suzlon | Vergnet
| Wind speed | Power curve data | Capacity Factor | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Wind speed | Power curve data |  | Wind speed | Power curve data |  | Wind speed | Power curve data |  | Wind speed | Power curve data |  | Wind speed | Power curve data |  | Wind speed | Power curve data |  | Wind speed | Power curve data |  | Wind speed | Power curve data |  | Wind speed | Power curve data |  | Wind speed | Power curve data |  | Wind speed | Power curve data |  | Wind speed | Power curve data |  | Wind speed | Power curve data |  | Wind speed | Power curve data |  | Wind speed | Power curve data |  | Wind speed | Power curve data
| m/s |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | m/s | kW |  | m/s | kW |  | m/s | kW |  | m/s | kW |  | m/s | kW |  | m/s | kW |  | m/s | kW |  | m/s | kW |  | m/s | kW |  | m/s | kW |  | m/s | kW |  | m/s | kW |  | m/s | kW |  | m/s | kW |  | m/s | kW |  | m/s | kW
| 0 | 0 | 0% | [14 empty] | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 | bar: 1 to 14
| 1 | 0 | 0% | [14 empty] | 1 | 0 |  | 1 | 0 |  | 1 | 0 |  | 1 | 0 |  | 1 | 0 |  | 1 | 0 |  | 1 | 0 |  | 1 | 0 |  | 1 | 0 |  | 1 | 0 |  | 1 | 0 |  | 1 | 0 |  | 1 | 0 |  | 1 | 0 |  | 1 | 0 |  | 1 | 0 | bar: 1 to 14
| 2 | 0 | 0% | [14 empty] | 2 | 0 |  | 2 | 0 |  | 2 | 0 |  | 2 | 0 |  | 2 | 0 |  | 2 | 0 |  | 2 | 0 |  | 2 | 0 |  | 2 | 0 |  | 2 | 0 |  | 2 | 0 |  | 2 | 0 |  | 2 | 0 |  | 2 | 0 |  | 2 | 0 |  | 2 | 0 | bar: 1 to 14
| 3 | 0 | 0% | 0% | 0% | 0% | 0% | 2.333% | 0% | 0% | 0% | 2.5% | 0% | 0% | 0% | 0.2857% | 0% | 3 | 0 |  | 3 | 0 |  | 3 | 0 |  | 3 | 0 |  | 3 | 0.14 |  | 3 | 0 |  | 3 | 0 |  | 3 | 0 |  | 3 | 0.25 |  | 3 | 0 |  | 3 | 0 |  | 3 | 0 |  | 3 | 1 |  | 3 | 0 |  | 3 | 1 |  | 3 | 0
| 4 | 24 | 2.4% | 2.4% | 0% | 3.1% | 3.429% | 5.667% | 1.007% | 2% | 0% | 6% | 2.52% | 2.41% | 0% | 1.143% | 0% | 4 | 24 |  | 4 | 0 |  | 4 | 0.31 |  | 4 | 1.2 |  | 4 | 0.34 |  | 4 | 10.57 |  | 4 | 15 |  | 4 | 0 |  | 4 | 0.6 |  | 4 | 126 |  | 4 | 24.1 |  | 4 | 0 |  | 4 | 4 |  | 4 | 0 |  | 4 | 2.9 |  | 4 | 29.8
| 5 | 64 | 6.4% | 6.4% | 8.8% | 6.2% | 4.571% | 11.17% | 6.59% | 6.933% | 3.8% | 12% | 7.04% | 6.93% | 0.84% | 5.714% | 2.5% | 5 | 64 |  | 5 | 4.4 |  | 5 | 0.62 |  | 5 | 1.6 |  | 5 | 0.67 |  | 5 | 69.19 |  | 5 | 52 |  | 5 | 3.8 |  | 5 | 1.2 |  | 5 | 352 |  | 5 | 69.3 |  | 5 | 2.1 |  | 5 | 20 |  | 5 | 0.5 |  | 5 | 6 |  | 5 | 88.5
| 6 | 111 | 11.1% | 11.1% | 17.8% | 17.8% | 11.71% | 19.33% | 11.89% | 12.93% | 10.9% | 22% | 12.96% | 13% | 4.16% | 12% | 9.5% | 6 | 111 |  | 6 | 8.9 |  | 6 | 1.78 |  | 6 | 4.1 |  | 6 | 1.16 |  | 6 | 124.8 |  | 6 | 97 |  | 6 | 10.9 |  | 6 | 2.2 |  | 6 | 648 |  | 6 | 130 |  | 6 | 10.4 |  | 6 | 42 |  | 6 | 1.9 |  | 6 | 11 |  | 6 | 182.2
| 7 | 197 | 19.7% | 19.7% | 31.2% | 25.5% | 22.29% | 30.17% | 18.9% | 21.73% | 19.9% | 33% | 21.62% | 21.91% | 11.24% | 20.97% | 21.5% | 7 | 197 |  | 7 | 15.6 |  | 7 | 2.55 |  | 7 | 7.8 |  | 7 | 1.81 |  | 7 | 198.41 |  | 7 | 163 |  | 7 | 19.9 |  | 7 | 3.3 |  | 7 | 1081 |  | 7 | 219.1 |  | 7 | 28.1 |  | 7 | 73.4 |  | 7 | 4.3 |  | 7 | 17.7 |  | 7 | 306.8
| 8 | 314 | 31.4% | 31.4% | 48.8% | 35.4% | 33.43% | 45.17% | 30.21% | 33.47% | 30.1% | 50% | 32.76% | 33.35% | 17.52% | 32.6% | 33% | 8 | 314 |  | 8 | 24.4 |  | 8 | 3.54 |  | 8 | 11.7 |  | 8 | 2.71 |  | 8 | 317.22 |  | 8 | 251 |  | 8 | 30.1 |  | 8 | 5 |  | 8 | 1638 |  | 8 | 333.5 |  | 8 | 43.8 |  | 8 | 114.1 |  | 8 | 6.6 |  | 8 | 27.3 |  | 8 | 472
| 9 | 454 | 45.4% | 45.4% | 66% | 49.2% | 46.57% | 63.67% | 43.78% | 47.47% | 41.1% | 72% | 46.7% | 46.31% | 28.16% | 45.03% | 44.5% | 9 | 454 |  | 9 | 33 |  | 9 | 4.92 |  | 9 | 16.3 |  | 9 | 3.82 |  | 9 | 459.68 |  | 9 | 356 |  | 9 | 41.1 |  | 9 | 7.2 |  | 9 | 2335 |  | 9 | 463.1 |  | 9 | 70.4 |  | 9 | 157.6 |  | 9 | 8.9 |  | 9 | 39.2 |  | 9 | 682.7
| 10 | 582 | 58.2% | 58.2% | 88% | 64% | 60% | 83.33% | 59.53% | 61.2% | 52.1% | 100% | 63.4% | 59.81% | 39.48% | 58.23% | 55% | 10 | 582 |  | 10 | 44 |  | 10 | 6.4 |  | 10 | 21 |  | 10 | 5 |  | 10 | 625.1 |  | 10 | 459 |  | 10 | 52.1 |  | 10 | 10 |  | 10 | 3170 |  | 10 | 598.1 |  | 10 | 98.7 |  | 10 | 203.8 |  | 10 | 11 |  | 10 | 51.4 |  | 10 | 951.6
| 11 | 686 | 68.6% | 68.6% | 100% | 76.9% | 73.71% | 95% | 75.58% | 81.07% | 62.8% | 110% | 80.34% | 73% | 51.28% | 70.54% | 65% | 11 | 686 |  | 11 | 50 |  | 11 | 7.69 |  | 11 | 25.8 |  | 11 | 5.7 |  | 11 | 793.61 |  | 11 | 608 |  | 11 | 62.8 |  | 11 | 11 |  | 11 | 4017 |  | 11 | 730 |  | 11 | 128.2 |  | 11 | 246.9 |  | 11 | 13 |  | 11 | 63.8 |  | 11 | 1260.6
| 12 | 783 | 78.3% | 78.3% | 110% | 92.3% | 85.71% | 100% | 90.16% | 92.13% | 72.7% | 110% | 95.1% | 84.65% | 64.68% | 83.23% | 74% | 12 | 783 |  | 12 | 55 |  | 12 | 9.23 |  | 12 | 30 |  | 12 | 6 |  | 12 | 946.63 |  | 12 | 691 |  | 12 | 72.7 |  | 12 | 11 |  | 12 | 4755 |  | 12 | 846.5 |  | 12 | 161.7 |  | 12 | 291.3 |  | 12 | 14.8 |  | 12 | 74.2 |  | 12 | 1500
| 13 | 891 | 89.1% | 89.1% | 116% | 100% | 96.57% | 100% | 95.68% | 98% | 81.4% | 110% | 100% | 92.88% | 75.92% | 94.71% | 82.5% | 13 | 891 |  | 13 | 58 |  | 13 | 10 |  | 13 | 33.8 |  | 13 | 6 |  | 13 | 1004.68 |  | 13 | 735 |  | 13 | 81.4 |  | 13 | 11 |  | 13 | 5000 |  | 13 | 928.8 |  | 13 | 189.8 |  | 13 | 331.5 |  | 13 | 16.5 |  | 13 | 79.9 |  | 13 | 1500
| 14 | 966 | 96.6% | 96.6% | 124% | 100% | 104.3% | 100% | 97.7% | 100% | 88.6% | 110% | 100% | 97.26% | 85.28% | 99.51% | 89.5% | 14 | 966 |  | 14 | 62 |  | 14 | 10 |  | 14 | 36.5 |  | 14 | 6 |  | 14 | 1025.85 |  | 14 | 750 |  | 14 | 88.6 |  | 14 | 11 |  | 14 | 5000 |  | 14 | 972.6 |  | 14 | 213.2 |  | 14 | 348.3 |  | 14 | 17.9 |  | 14 | 82.2 |  | 14 | 1500
| 15 | 1010 | 101% | 101% | 128% | 100% | 104.3% | 100% | 97.16% | 102.1% | 94.8% | 110% | 100% | 99.08% | 91.76% | 97.06% | 96% | 15 | 1010 |  | 15 | 64 |  | 15 | 10 |  | 15 | 36.5 |  | 15 | 6 |  | 15 | 1020.15 |  | 15 | 766 |  | 15 | 94.8 |  | 15 | 11 |  | 15 | 5000 |  | 15 | 990.8 |  | 15 | 229.4 |  | 15 | 339.7 |  | 15 | 19.2 |  | 15 | 82.9 |  | 15 | 1500
| 16 | 1037 | 103.7% | 103.7% | 132% | 55% | 102.9% | 100% | 96.86% | 102.9% | 99.1% | 110% | 100% | 99.72% | 99.84% | 91.86% | 101% | 16 | 1037 |  | 16 | 66 |  | 16 | 5.5 |  | 16 | 36 |  | 16 | 6 |  | 16 | 1017.08 |  | 16 | 772 |  | 16 | 99.1 |  | 16 | 11 |  | 16 | 5000 |  | 16 | 997.2 |  | 16 | 249.6 |  | 16 | 321.5 |  | 16 | 20.2 |  | 16 | 83.3 |  | 16 | 1500
| 17 | 1030 | 103% | 103% | 130% | 27.7% | 101.4% | 100% | 96% | 103.5% | 101.2% | 110% | 100% | 99.92% | 105.8% | 86.74% | 104.5% | 17 | 1030 |  | 17 | 65 |  | 17 | 2.77 |  | 17 | 35.5 |  | 17 | 6 |  | 17 | 1008.02 |  | 17 | 776 |  | 17 | 101.2 |  | 17 | 11 |  | 17 | 5000 |  | 17 | 999.2 |  | 17 | 264.4 |  | 17 | 303.6 |  | 17 | 20.9 |  | 17 | 83.3 |  | 17 | 1500
| 18 | 1035 | 103.5% | 103.5% | 128% | 28.9% | 101.4% | 100% | 95.43% | 103.9% | 98.9% | 110% | 100% | 99.98% | 106.7% | 82.86% | 106.5% | 18 | 1035 |  | 18 | 64 |  | 18 | 2.89 |  | 18 | 35.5 |  | 18 | 6 |  | 18 | 1002 |  | 18 | 779 |  | 18 | 98.9 |  | 18 | 11 |  | 18 | 5000 |  | 18 | 999.8 |  | 18 | 266.8 |  | 18 | 290 |  | 18 | 21.3 |  | 18 | 83 |  | 18 | 1500
| 19 | 1032 | 103.2% | 103.2% | 128% | 28.9% | 0% | 100% | 95.71% | 103.9% | 97.2% | 0% | 100% | 99.99% | 106.4% | 79.69% | 107.5% | 19 | 1032 |  | 19 | 64 |  | 19 | 2.89 |  | 19 |  |  | 19 | 6 |  | 19 | 1004.94 |  | 19 | 779 |  | 19 | 97.2 |  | 19 | 0 |  | 19 | 5000 |  | 19 | 999.9 |  | 19 | 266 |  | 19 | 278.9 |  | 19 | 21.5 |  | 19 | 83 |  | 19 | 1500
| 20 | 1009 | 100.9% | 100.9% | 128% | 28.9% | 0% | 100% | 95.36% | 103.9% | 93% | 0% | 100% | 100% | 102.2% | 76.66% | 107% | 20 | 1009 |  | 20 | 64 |  | 20 | 2.89 |  | 20 |  |  | 20 | 6 |  | 20 | 1001.31 |  | 20 | 779 |  | 20 | 93 |  | 20 | 0 |  | 20 | 5000 |  | 20 | 1000 |  | 20 | 255.5 |  | 20 | 268.3 |  | 20 | 21.4 |  | 20 | 83 |  | 20 | 1500
| 21 | 0 | 0% | 0% | 126% | 28.9% | 0% | 100% | 95.71% | 103.9% | 89% | 0% | 100% | 100% | 104% | 73.69% | 0% | 21 |  |  | 21 | 63 |  | 21 | 2.89 |  | 21 |  |  | 21 | 6 |  | 21 | 1004.94 |  | 21 | 779 |  | 21 | 89 |  | 21 | 0 |  | 21 | 5000 |  | 21 | 1000 |  | 21 | 260.1 |  | 21 | 257.9 |  | 21 |  |  | 21 | 83 |  | 21 | 1500
| 22 | 0 | 0% | 0% | 126% | 28.9% | 0% | 100% | 0% | 103.9% | 87% | 0% | 100% | 100% | 105.5% | 71.26% | 0% | 22 |  |  | 22 | 63 |  | 22 | 2.89 |  | 22 |  |  | 22 | 6 |  | 22 |  |  | 22 | 779 |  | 22 | 87 |  | 22 | 0 |  | 22 | 5000 |  | 22 | 1000 |  | 22 | 263.7 |  | 22 | 249.4 |  | 22 |  |  | 22 | 83 |  | 22 | 1500
| 23 | 0 | 0% | 0% | 126% | 28.9% | 0% | 100% | 0% | 103.9% | 89% | 0% | 100% | 100% | 104.3% | 69.23% | 0% | 23 |  |  | 23 | 63 |  | 23 | 2.89 |  | 23 |  |  | 23 | 6 |  | 23 |  |  | 23 | 779 |  | 23 | 89 |  | 23 | 0 |  | 23 | 5000 |  | 23 | 1000 |  | 23 | 260.8 |  | 23 | 242.3 |  | 23 |  |  | 23 | 83 |  | 23 | 1500
| 24 | 0 | 0% | 0% | 0% | 28.9% | 0% | 100% | 0% | 103.9% | 92% | 0% | 100% | 100% | 103% | 67.6% | 0% | 24 |  |  | 24 |  |  | 24 | 2.89 |  | 24 |  |  | 24 | 6 |  | 24 |  |  | 24 | 779 |  | 24 | 92 |  | 24 | 0 |  | 24 | 5000 |  | 24 | 1000 |  | 24 | 257.4 |  | 24 | 236.6 |  | 24 |  |  | 24 | 83 |  | 24 | 1500
| 25 - 30 | 0 | 0% | 0% | 0% | 28.9% | 0% | 100% | 0% | 103.9% | 97% | 0% | 100% | 100% | 102.7% | 66.43% | 0% | 25 - 30 |  |  | 25 - 30 |  |  | 25 - 30 | 2.89 |  | 25 - 30 |  |  | 25 - 30 | 6 |  | 25 - 30 |  |  | 25 - 30 | 779 |  | 25 - 30 | 97 |  | 25 - 30 | 0 |  | 25 - 30 | 5000 |  | 25 - 30 | 1000 |  | 25 - 30 | 256.8 |  | 25 - 30 | 232.5 |  | 25 - 30 |  |  | 25 - 30 | 83 |  | 25 - 30 | 1500
1
Match
| AAER | 1 | 1
| Atlantic Orient | 4 | 4
| Bergey Windpower | 7 | 7
| Energie PGE | 10 | 10
| Eoltec SAS | 13 | 13
| Husumer | 16 | 16
| Jeumont | 19 | 19
| Northern Power Systems | 22 | 22
| ReDriven | 25 | 25
| REpower | 28 | 28
| Siemens | 31 | 31
| Sustainable Energy Technologies | 34 | 34
| Suzlon | 37 | 37
| Vergnet | 40 | 40
| Wind Energy Solutions Canada | 43 | 43
| Vergnet | 40 | 40
| Windtec | 46 | 46