## Low
[7 empty] | Flow Battery | Flow Battery |  | Flow Battery |  | Flow Battery
Units | Lithium | Lead | Advanced Lead | Lithium | Lead | Advanced Lead | Vanadium | Zinc Bromine | Lithium | Vanadium | Lithium | Vanadium | Lithium
Power Rating MW | 0.125 | 0.125 | 0.125 | 0.005 | 0.005 | 0.005 | 100 | 100 | 100 | 10 | 10 | 1 | 1
Duration Hours | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 4 | 4 | 6 | 6 | 4 | 4
Usable Energy MWh | 0.25 | 0.25 | 0.25 | 0.01 | 0.01 | 0.01 | 400 | 400 | 400 | 60 | 60 | 4 | 4
Depth of Discharge Cycles/Day | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2
Operating Days/Year | 250 | 250 | 250 | 250 | 250 | 250 | 350 | 350 | 350 | 350 | 350 | 350 | 350
Project Life Years | 10 | 10 | 10 | 10 | 10 | 10 | 20 | 20 | 20 | 20 | 20 | 10 | 10
Memo: Annual Used Energy MWh | 63 | 63 | 63 | 3 | 3 | 3 | 140000 | 140000 | 140000 | 21000 | 21000 | 2800 | 2800
Memo: Project Used Energy MWh | 625 | 625 | 625 | 25 | 25 | 25 | 2800000 | 2800000 | 2800000 | 420000 | 420000 | 28000 | 28000
Initial Capital CostDC /kWh | 520 | 322 | 516 | 517 | 284 | 562 | 313 | 400 | 307 | 264 | 302 | 313 | 455
Initial Capital CostAC /kWh | 123 | 123 | 123 | 314 | 314 | 314 | 0 | 28 | 28 | 0 | 19 | 0 | 39
Initial Other Owners Costs /kWh | 161 | 111 | 160 | 200 | 200 | 200 | 47 | 64 | 50 | 40 | 48 | 63 | 99
Total Initial Installed Cost /kWh | 804 | 556 | 800 | 1031 | 798 | 1076 | 360 | 492 | 385 | 303 | 368 | 376 | 593
O&M Cost /kWh | 0 | 0 | 0 | 0 | 0 | 0 | 2.88 | 3.08 | 2.44 | 0.36 | 0.34 | 0.03 | 0.04
O&M of Capex | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.63 | 0.63 | 0.12 | 0.09 | 0.01 | 0.01
Warranty Expense | 0.001 | 0.001 | 0.001 | 0 | 0 | 0 | 0 | 3.423 | 2.676 | 0 | 0.384 | 0 | 0.04
Augmentation Charge | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.029 | 0 | 1.153 | 0 | 0.143
Augmentation Charge Oversize | 0.055 | 0.125 | 0.08 | 0.002 | 0.004 | 0.003 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Augmentation Charge Year | 0 | 0.125 | 0 | 0 | 0.004 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Investment Tax Credit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Production Tax Credit /MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Charging Cost /MWh | 106 | 106 | 106 | 124 | 124 | 124 | 30 | 30 | 30 | 30 | 30 | 106 | 106
Charging Cost Escalator | 1 | 1 | 1 | 1 | 1 | 1 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 1 | 1
Efficiency | 86 | 72 | 82 | 85 | 72 | 82 | 67 | 67 | 86 | 67 | 86 | 67 | 86
Levelized Cost of Storage /MWh | 891 | 1057 | 950 | 1028 | 1160 | 1138 | 209 | 286 | 282 | 184 | 272 | 273 | 363

## High
[7 empty] | Flow Battery | Flow Battery |  | Flow Battery |  | Flow Battery
Units | Lithium | Lead | Advanced Lead | Lithium | Lead | Advanced Lead | Vanadium | Zinc Bromine | Lithium | Vanadium | Lithium | Vanadium | Lithium
Power Rating MW | 0.125 | 0.125 | 0.125 | 0.005 | 0.005 | 0.005 | 100 | 100 | 100 | 10 | 10 | 1 | 1
Duration Hours | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 4 | 4 | 6 | 6 | 4 | 4
Usable Energy MWh | 0.25 | 0.25 | 0.25 | 0.01 | 0.01 | 0.01 | 400 | 400 | 400 | 60 | 60 | 4 | 4
Depth of Discharge Cycles/Day | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2
Operating Days/Year | 250 | 250 | 250 | 250 | 250 | 250 | 350 | 350 | 350 | 350 | 350 | 350 | 350
Project Life Years | 10 | 10 | 10 | 10 | 10 | 10 | 20 | 20 | 20 | 20 | 20 | 10 | 10
Memo: Annual Used Energy MWh | 63 | 63 | 63 | 3 | 3 | 3 | 140000 | 140000 | 140000 | 21000 | 21000 | 2800 | 2800
Memo: Project Used Energy MWh | 625 | 625 | 625 | 25 | 25 | 25 | 2800000 | 2800000 | 2800000 | 420000 | 420000 | 28000 | 28000
Initial Capital CostDC /kWh | 597 | 362 | 634 | 775 | 321 | 609 | 713 | 450 | 397 | 563 | 392 | 713 | 504
Initial Capital CostAC /kWh | 123 | 123 | 123 | 314 | 314 | 314 | 0 | 28 | 28 | 0 | 19 | 0 | 39
Initial Other Owners Costs /kWh | 180 | 121 | 189 | 200 | 200 | 200 | 107 | 72 | 64 | 84 | 62 | 143 | 109
Total Initial Installed Cost /kWh | 900 | 606 | 946 | 1289 | 835 | 1123 | 819 | 550 | 489 | 647 | 472 | 855 | 652
O&M Cost /kWh | 0 | 0 | 0 | 0 | 0 | 0 | 6.56 | 3.43 | 3.06 | 0.78 | 0.44 | 0.07 | 0.04
O&M of Capex | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.62 | 0.63 | 0.12 | 0.09 | 0.01 | 0.01
Warranty Expense | 0.001 | 0.001 | 0.001 | 0 | 0 | 0 | 0 | 3.823 | 3.4 | 0 | 0.493 | 0 | 0.043
Augmentation Charge | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.2 | 0 | 1.478 | 0 | 0.157
Augmentation Charge Oversize | 0.063 | 0.14 | 0.098 | 0.003 | 0.005 | 0.004 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Augmentation Charge Year | 0 | 0.14 | 0 | 0 | 0.005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Investment Tax Credit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Production Tax Credit /MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Charging Cost /MWh | 106 | 106 | 106 | 124 | 124 | 124 | 30 | 30 | 30 | 30 | 30 | 106 | 106
Charging Cost Escalator | 1 | 1 | 1 | 1 | 1 | 1 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 1 | 1
Efficiency | 86 | 72 | 82 | 85 | 72 | 82 | 70 | 67 | 86 | 70 | 86 | 70 | 86
Levelized Cost of Storage /MWh | 985 | 1154 | 1107 | 1274 | 1239 | 1188 | 413 | 315 | 347 | 338 | 338 | 406 | 386

## Raw Download
[13 empty] | Flow Battery | Flow Battery | Flow Battery | Flow Battery |  |  | Flow Battery | Flow Battery |  |  | Flow Battery | Flow Battery
Units | Lithium | Lithium | Lead | Lead | Advanced Lead | Advanced Lead | Lithium | Lithium | Lead | Lead | Advanced Lead | Advanced Lead | Vanadium | Vanadium | Zinc Bromine | Zinc Bromine | Lithium | Lithium | Vanadium | Vanadium | Lithium | Lithium | Vanadium | Vanadium | Lithium | Lithium
Power Rating MW | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.125 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 0.005 | 100 | 100 | 100 | 100 | 100 | 100 | 10 | 10 | 10 | 10 | 1 | 1 | 1 | 1
Duration Hours | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 4 | 4 | 4 | 4 | 4 | 6 | 6 | 6 | 6 | 4 | 4 | 4 | 4
Usable Energy MWh | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.25 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 400 | 400 | 400 | 400 | 400 | 400 | 60 | 60 | 60 | 60 | 4 | 4 | 4 | 4
Depth of Discharge Cycles/Day | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2
Operating Days/Year | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 250 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350 | 350
Project Life Years | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 10 | 10 | 10 | 10
Memo: Annual Used Energy MWh | 63 | 63 | 63 | 63 | 63 | 63 | 3 | 3 | 3 | 3 | 3 | 3 | 140000 | 140000 | 140000 | 140000 | 140000 | 140000 | 21000 | 21000 | 21000 | 21000 | 2800 | 2800 | 2800 | 2800
Memo: Project Used Energy MWh | 625 | 625 | 625 | 625 | 625 | 625 | 25 | 25 | 25 | 25 | 25 | 25 | 2800000 | 2800000 | 2800000 | 2800000 | 2800000 | 2800000 | 420000 | 420000 | 420000 | 420000 | 28000 | 28000 | 28000 | 28000
Initial Capital CostDC /kWh | 520 | 597 | 322 | 362 | 516 | 634 | 517 | 775 | 284 | 321 | 562 | 609 | 313 | 713 | 400 | 450 | 307 | 397 | 264 | 563 | 302 | 392 | 313 | 713 | 455 | 504
Initial Capital CostAC /kWh | 123 | 123 | 123 | 123 | 123 | 123 | 314 | 314 | 314 | 314 | 314 | 314 | 0 | 0 | 28 | 28 | 28 | 28 | 0 | 0 | 19 | 19 | 0 | 0 | 39 | 39
Initial Other Owners Costs /kWh | 161 | 180 | 111 | 121 | 160 | 189 | 200 | 200 | 200 | 200 | 200 | 200 | 47 | 107 | 64 | 72 | 50 | 64 | 40 | 84 | 48 | 62 | 63 | 143 | 99 | 109
Total Initial Installed Cost /kWh | 804 | 900 | 556 | 606 | 800 | 946 | 1031 | 1289 | 798 | 835 | 1076 | 1123 | 360 | 819 | 492 | 550 | 385 | 489 | 303 | 647 | 368 | 472 | 376 | 855 | 593 | 652
O&M Cost /kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.88 | 6.56 | 3.08 | 3.43 | 2.44 | 3.06 | 0.36 | 0.78 | 0.34 | 0.44 | 0.03 | 0.07 | 0.04 | 0.04
O&M of Capex | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.8 | 0.8 | 0.63 | 0.62 | 0.63 | 0.63 | 0.12 | 0.12 | 0.09 | 0.09 | 0.01 | 0.01 | 0.01 | 0.01
Warranty Expense | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0.001 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.423 | 3.823 | 2.676 | 3.4 | 0 | 0 | 0.384 | 0.493 | 0 | 0 | 0.04 | 0.043
Augmentation Charge | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.029 | 10.2 | 0 | 0 | 1.153 | 1.478 | 0 | 0 | 0.143 | 0.157
Augmentation Charge Oversize | 0.055 | 0.063 | 0.125 | 0.14 | 0.08 | 0.098 | 0.002 | 0.003 | 0.004 | 0.005 | 0.003 | 0.004 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Augmentation Charge Year | 0 | 0 | 0.125 | 0.14 | 0 | 0 | 0 | 0 | 0.004 | 0.005 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Investment Tax Credit | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Production Tax Credit /MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Charging Cost /MWh | 106 | 106 | 106 | 106 | 106 | 106 | 124 | 124 | 124 | 124 | 124 | 124 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 106 | 106 | 106 | 106
Charging Cost Escalator | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 1 | 1 | 1 | 1
Efficiency | 86 | 86 | 72 | 72 | 82 | 82 | 85 | 85 | 72 | 72 | 82 | 82 | 67 | 70 | 67 | 67 | 86 | 86 | 67 | 70 | 86 | 86 | 67 | 70 | 86 | 86
Levelized Cost of Storage /MWh | 891 | 985 | 1057 | 1154 | 950 | 1107 | 1028 | 1274 | 1160 | 1239 | 1138 | 1188 | 209 | 413 | 286 | 315 | 282 | 347 | 184 | 338 | 272 | 338 | 273 | 406 | 363 | 386